**NOTICE INVITING OFFERS**

BIRLA INSTITUTE OF TECHNOLOGY,

Mesra, Ranchi

FOR

**CIVIL CONSTRUCTION WORK**

**of**

**6 Smart Class Rooms**

**in R&D Building**

**at**

**BIT Mesra Ranchi.**

Office of:

The Registrar

Birla Institute of Technology

Mesra, Ranchi.

BIRLA INSTITUTE OF TECHNOLOGY

MESRA

RANCHI-835 215 (JHARKHAND) - INDIA

**Contractor Sign & Seal**

PABX: +91 651 2275444/2275896 Extn: 4663


Email: purchase.rinku@bitmesra.ac.in,ar.purchase1@bitmesra.ac.in

Website: www.bitmesra.ac.in

Invitation for Offers

Ref No.: **1920GPE00143** Date:

BIT MESRA, established in 1955 by Mr. B M Birla, is a premier technical institute and deemed University u/s 3 of UGC Act, 1956. You are invited to submit your most competitive quotation for the Services required for Institute use.




|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Sl.** |  |  |  | **Duration of** |  |  |  | **Cost of** |  | **Single/** |  |
|  | **Name of the work** |  |  | **EMD (Rs.)** |  | **Document** |  | **Two / Three** |  |
| **No.** |  |  |  | **Contract** |  |  |  | **(Rs.)** |  | **Bid** |  |
|  |  |  |  |  |  |  |  |  |  |
| 1. |  | Civil Construction Work of 6 Smart Class Room in R&D at BIT Mesra Ranchi. |  | 06 months |  | Rs.40,000/- |  | |  | 3 Parts |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |

1. The address for submission of Quotations and for obtaining further information:

**REGISTRAR**

**BIRLA INSTITUTE OF TECHNOLOGY, MESRA RANCHI-835 215 (JHARKHAND) – INDIA**

1. Bids must be accompanied by EMD amount specified for the work in the table above, payable at Ranchi and drawn in favour of Birla Institute of Technology, Mesra. EMD will have to be in anyone of the forms as specified in the bidding document and shall have to be valid for 60 days beyond the validity of the bid. In the event of the date specified for Quotation receipt is declared as a closed holiday, the due date for submission of Offers will be the following working day at the appointed time
2. The Schedule for Submission of Quotations is as follows:-



|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date |  | Time in hours (IST) |  | Submit to / |
|  |  |  |  |  |  |  |  | Venue |
|  | Submission | of |  | January 2020 |  | Upto 15:00 hrs |  | Registrar |
|  | Quotations |  |  |  |  |  |  | Office, |



1. Tenderer(s) shall enclose self-attested Xerox copy of his/her valid registration, Sales tax, Income Tax Clearance, TIN, PAN, Audited turnover, Character Certificate (Proprietorship Companies), Labour License, EPF Registration, ESIC Registration, partnership deed etc.
2. The Vice-Chancellor, BIT MESRA reserves the right to accept or reject any or all Quotations / offers either in part or in full or to split the order without assigning any reasons thereof.

Sd/-

REGISTRAR

**Contractor Sign & Seal**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | **TABLE OF CONTENTS** | | |  |
| **SECTION** |  |  |  |  | **CONTENTS** | |  | **Page No.** |
| **Section 1** | **Notice Inviting Tender** | | | | | | | 2 |
| **Section 2** | **Instructions to the Bidders** | | | | | | | 4 |
|  | **PART – I** | |  | | | | |  |
| **Section 3** | **Minimum Eligibility Criteria** | | | | | | | 10 |
|  | **PART – II** | | | | | | |  |
|  |  |  | |  | |  | |  |
| **Section 4** | **General Conditions of Contract (GCC)** | | | | | | | 17 |
| **Section 5** | **A. Special Conditions of Contract (SCC)** | | | | | | | 40 |
|  | **B. Approved Makes** | | | | | | | 42 |
|  | **PART – III (Price Schedule)** | | | | |  | |  |
| **Section 6** | **Vendor Offer Letter** | | | | | | | 46 |
| **Section 6** | **Price Schedule** | | | | | | | 47 |
|  | **MISC.** | | | | | | |  |
|  |  |  | | | | | |  |
| **Section 7** | **Forms** | | | | | | | 49 – 57 |
| **7.1** | **Letter of Acceptance cum Notice for Commencement** | | | | | | |  |
| **7.2** | **Form of Performance Bank Guarantee** | | | | | | |  |
| **7.3** | **Form of Articles of Agreement** | | | | | | |  |

**Contractor Sign & Seal**

**SECTION-2**

**INSTRUCTIONS TO THE BIDDERS**

**Contractor Sign & Seal**

**INSTRUCTIONS TO THE BIDDERS**

**1** **GENERAL INSTRUCTIONS**

1.1 For the Bidding / Tender Document Purposes, ‘BIT MESRA’ shall be referred to as ‘Client’ and the Bidder / Successful Bidder shall be referred to as ‘Contractor’ and / or Bidder or interchangeably.

1.1.1 The Bidders are advised to inspect the site before filling in and submitting the bids to get fully acquainted with the scope of work as no claim whatsoever will be entertained for any alleged ignorance thereof.

1.2 The sealed bidding documents should be delivered in the office of the Registrar, BIT MESRA by the stipulated date and time.

1.3 The tender documents may also be downloaded from this office website www.bitmesra.ac.in. Those bidders who wish to download the tender documents from the office website should furnish the Tender Document cost specified in NIT through Bank Draft/Pay Order from any Nationalized (Indian) Bank along with the Bidding Documents and EMD.

1.4 While all efforts have been made to avoid errors in the drafting of the tender documents, the Bidder is advised to check the same carefully. No claim on account of any errors detected in the tender documents shall be entertained.

1.5 **Each page of the Tender documents must be stamped and signed by the person or persons** **submitting the Tender in token of his/their having acquainted himself/herself/ themselves and accepted the entire tender documents including various conditions of contract. Any Bid with any of the Documents not so signed is liable to be rejected at the discretion of the Client. NO PAGE SHOULD BE REMOVED/DETACHED FROM THIS BIDDING DOCUMENT.**

1.6 The bidder shall attach the copy of the authorization letter / power of Attorney as the proof of authorization for signing on behalf of the Bidder or Proprietor

1.7 All Bidders are hereby explicitly informed that conditional offers or offers with deviations from the conditions of Contract, the bids not meeting the minimum eligibility criteria, Technical Bids not accompanied with EMD of requisite amount/format, or any other requirements, stipulated in the tender documents are liable to be rejected.

1.8 For all purposes of the contract including arbitration there under, the address of the bidder mentioned in the bid shall be final unless the bidder notifies a change of address by a separate letter sent by registered post with acknowledgement due to BIT MESRA. The bidder shall be solely responsible for the consequences of any omission or error to notify change of address in the aforesaid manner.

**Contractor Sign & Seal**

**2** **EARNEST MONEY DEPOSIT:**

2.1 This bid should be accompanied by an Earnest Money Deposit of Rs.40,000/- only) in the form of Bank Guarantee/Demand Draft of any scheduled bank. The validity of the Bank Guarantee/Demand Draft must be up to 3 (three) months starting from the date of submission of the bids. The Bank Guarantee / Demand Draft shall be in favour of BIT MESRA and payable at Ranchi.

2.2 No request for transfer of any previous deposit of earnest money or security deposit or adjustment against any pending bill held by the Department in respect of any previous work shall be entertained.

2.3 Bidders shall not be permitted to withdraw their offer or modify the terms and conditions thereof. In case the bidder fails to observe and comply with the stipulations made herein or backs out after quoting the rates, the aforesaid bid security shall be forfeited.

2.4 The bids without Earnest Money shall be summarily rejected.

2.5 No claim shall lie against BIT MESRA in respect of erosion in the value or interest on the amount of earnest money deposit or security deposit.

2.6 The bid security may be forfeited:

1. If the bidder withdraws his bid during the period of bid validity specified by the bidder in the bid form; or
2. In case of successful bidder, if the bidder
   1. Fails to sign the contract in accordance with the terms of the tender document
   2. Fails to furnish required performance security in accordance with the terms of tender document within the time frame specified by the Client.
   3. Fails or refuses to honor his own quoted prices for the services or part thereof.

**3** **VALIDITY OF BIDS**

3.1 Bids shall remain valid and open for acceptance for a period of **120 days** from the last date of submission of Bids.

3.2 In case Client calls the bidder for negotiation then this shall not amount to cancellation or withdrawal of original offer which shall be binding on the bidder.

3.3 The Client may request for extension for another period of 60 days, without any modifications and without giving any reasons thereof.

**4** **PREPARATION OF BIDS**

4.1 Language : Bids and all accompanying documents shall be in English or in Hindi

**Contractor Sign & Seal**

**4.2 Minimum Eligibility Criteria: PART I of the Bid; to be submitted in 1st inner sealed envelope consisting of:**

1. **Cost of Document**: Rs.0 / **EMD**: Rs.40,000/-
2. Bid Submission Form duly signed and printed on Company’s letterhead. ***Annexure – A***
3. Qualification information (Minimum Eligibility Criteria) as indicated in the Bid Document and documents as required with accordance with stipulations of bid document and any other material required to be completed and submitted by the Bidder in accordance with these instructions. All these documents are required to be signed by signatory as per format given in bid document. ***Annexure –B to***

***D***



The Qualification Information, Part I, should be kept in a separate sealed envelope, superscribed as “Minimum Eligibility Criteria for Tender No. **1920GPE00143** Dated JANUARY , 2020 with the Name and address of the Bidder.

**4.2** **Technical Bid: PART II of the Bid; to be submitted in the 2nd sealed envelope, comprising of:**

1. Technical Offer along with technical specifications of equipment / know-how offered, drawings, pamphlets, etc., strictly in terms of tender enquiry.
2. The Bid Document downloaded from website, signed and stamped by authorized signatory of the bidder on each page of the tender document.

The Technical Bid should then be kept in a separate sealed envelope, super scribed as “Technical Bid for Tender No. **1920GPE00143** Dated JANUARY , 2020 with the Name and address of the Bidder.

**4.3 Financial Bid: PART III of the Bid; as per the Price Schedule as provided in the Tender Document.**

The financial bid should be kept in a separate sealed envelope, super scribed “Financial Bid for Tender No. **1920GPE00143** Dated JANUARY , 2020 with the Name and address of the Bidder.

**5** **SUBMISSION OF BIDS**

5.1 The Bidder shall submit his bid in a sealed envelope containing three separate sealed envelopes consisting of (i) Minimum Eligibility Criteria; (ii)Technical Bid and (ii) Financial Bid, clearly subscribing so and the three envelopes shall be kept in another single sealed envelope and duly super scribed.

5.2 The Bid shall be submitted not later than 1500 hours of (Date) January 2020 addressed to Registrar, Birla Institute of Technology, Mesra, Ranchi-835215.

5.3 Bidders sending their bids through courier should also ensure that their bids are received on the said address by the stipulated date and time. No time extension for couriers shall be granted.

**Contractor Sign & Seal**

5.4 Bids must be received in the office at the address specified above not later than the date and time stipulated in the notification. No Bid shall be accepted after the aforesaid date and time. However the competent authority of the BIT MESRA reserves right to extend the date / time for receipt of bids, before opening of the Technical Bids.

**6** **CLARIFICATION ON TECHNICAL BID EVALUATION.**

6.1 The Eligibility Criteria and the technical bids shall be evaluated based on the available documents submitted by the bidder. To assist in the examination, evaluation, and comparison of the bids, and qualification of the bidders, the Client may, at its discretion, ask any bidder for a clarification of its bid. Any clarification submitted by a bidder that is not in response to a request by the Client shall not be considered. The Client’s request for clarification and the response shall be in writing.

6.2 Client also reserves right to seek confirmation/clarification from the issuer agency, on the supporting documents submitted by the bidder.

**7** **RIGHT OF ACCEPTANCE:**

7.1 BIT MESRA reserves all rights to reject any bid including of those bidders who fail to comply with the instructions without assigning any reason whatsoever and does not bind itself to accept the lowest or any specific bids. The decision of the Competent Authority of BIT MESRA in this regard shall be final and binding.

7.2 Any failure on the part of the bidder to observe the prescribed procedure and any attempt to canvass for the work shall render the bidder ‘s bids liable for rejection.

7.3 The competent authority of BIT MESRA reserves the right to award any or part or full contract to any successful agency (ies) at its discretion and this will be binding on the bidders.

7.4 In case of failure to comply with the provisions of the terms and conditions mentioned, by the agency that has been awarded the contract, the competent authority of the BIT MESRA reserves the right to award the contract to the next higher bidder or any other outside agency and the difference of price shall be recovered from the defaulter agency who has been awarded the initial contract and this will be binding on the bidders.

7.5 BIT MESRA may terminate the Contract if it is found that the Contractor is black listed on previous occasions by any of the Government Departments / Institutions / Local Bodies / Municipalities / Public Sector Undertaking etc.

**Contractor Sign & Seal**

**8** **NOTIFICATION OF AWARD BY ISSUANCE OF ‘LETTER OF ACCEPTANCE’/WORK ORDER**

8.1 After determining the successful evaluated bidder, Client shall issue a Work Order/ Letter of Acceptance (LoA) in duplicate, who will return one copy to Client duly acknowledged, accepted and signed by the authorized signatory, within Three (3) days of receipt of the same by him/her.

8.2 The issuance of the Letter of Acceptance to the bidder shall constitute an integral part and it will be a binding to the contract.

8.3 The time taken between the date of issue of LoA and Notice to Proceed shall not prevent the contractor to mobilize the man power and other resources.

**9** **SIGNING OF CONTRACT AGREEMENT**

9.1 The successful Bidder shall enter into contract and shall execute and sign the Contract Agreement in accordance with the Articles of Agreement before commencement of the works and services.

9.2 Client shall prepare the draft Articles of Agreement in the Proforma included in this Document, duly incorporating all the terms of agreement between the two parties and send the same in duplicate to the successful Bidder for their concurrence.

9.3 The successful Bidder shall return the duly concurred copies of the draft Articles of Agreement within a Week of receipt of the draft Articles of Agreement from Client, duly printed on the correct amount of stamp paper, duly adjudicated by the registrar of stamps where the contract is proposed to be executed.

9.4 The competent authority of the Client shall sign the Contract agreement and return a copy of the same to the successful bidder.

**10** **RETURNING OF EARNEST MONEY DEPOSIT (BID SECURITY AMOUNT)**

10.1 For the successful bidder the earnest money deposited in the form of Bank guarantee shall be discharged after the bidder has signed the Agreement/ furnished the required Performance Security/security deposit. The Earnest money/ Bid Security deposited in the form of Demand Draft/ECS Transfer shall be adjusted against the Performance Security/security deposit.

**Contractor Sign & Seal**

**PART - I**

***(To be submitted in a separate envelope)***

**SECTION-3**

**MINIMUM ELIGIBILITY CRITERIA**

**&**

**OTHER ANNEXURES**

***(To be filled up, certified by Bidders and submitted along with supporting documents)***

**Contractor Sign & Seal**

**MINIMUM ELIGIBILITY CRITERIA**

|  |  |  |
| --- | --- | --- |
| Description | Documents | Page |
| 1. **Legal Valid Entity** : The Bidder shall necessarily be a legally valid entity either in the form of aLimited Company or a Private Limited Company registered under the Companies Act, 1956, or JV/consortium, Proprietorship, Partnership, etc. A proof for supporting the legal validity of the Bidder shall be submitted. | 1. In proof of having fully adhered to the minimum eligibility criteria , attested copy of Certificates of Incorporation issued by the respective registrar of firms/companies. |  |
|
| 1. **Registration**: The Bidder should be registered with the Income Tax, GST and alsoregistered under the labour laws - Employees Provident Fund Organization, Employees State Insurance Corporation. | 1. In proof of having fully adhered to minimum eligibility criteria , attested copies of GST & PAN Registration, Service Tax Registration, EPFO Registration, ESIC Registration shall be acceptable. |  |
|
| 1. **Clearance**: The Bidder should also have enclosed 3 Years ITR. | 1. In proof of having fully adhered to minimum eligibility criteria, attested copies of Last three years returns from Income Tax Department shall be acceptable. |  |
|
| 1. **Annual Turnover**: **40 Lakhs INR** | 1. In proof of having fully adhered to minimum eligibility criteria , attested copy of the audited balance sheets along with audit report for the completed three financial year i.e. for 2018-19, 2017-18 and 2016-17. (However, in support of 2018-19, an attested and signed copy of provisional balance sheet shall be acceptable). |  |
|
| 1. **Experience**: The Bidder should have experience in the similar works performed(at least 1 Similar Order of the same value as of this Tender) in reputedorganizations during last 5 (five) years ending last day of month previous to the one in which bid applications are invited (i.e. eligibility period). The bidder has to submit the relevant work experience certificates in last 5 years. Pre-qualification shall be done based on experience of successfully completed works and not on experience of work in progress. | 1. In proof of having fully adhered to minimum eligibility criteria, attested copy of experience certificates for completed work / ongoing work issued by the Government Departments / PSUs / reputed organizations shall be acceptable. |  |

1. **Working Bid Capacity of Contractor / Agency**:
   1. The Working bid capacity of the contractor should be equal to or more than the estimated cost of the work put to tender. The Working Bid capacity shall be worked out by the following formula:

**Working Bid Capacity = [AxNx2]-B**

**Where,**

**A = Average Annual Turnover of the bidder for the last Three years (ending 31st march of preceding Financial Year) from Construction activities. (*Annexure D)***

**N = Number of years prescribed for completion of work for which bids have been invited.**

**B = Value of existing commitments and ongoing works to be completed (for all the clients of the Bidder) during the period of completion of work which bids have been invited. (Annexure C)**

1. All materials used shall be as per specifications and ISI marked wherever applicable. ISI marking referred relate to latest BIS code as published by Bureau of Indian Standards up to 30 days before the date of opening the tender.
2. The contractor shall give a performance test of the entire installation (s) as per standard specifications and/or as directed by the Incharge P & D and will also submit Test Certificates as are required by Municipal / Electrical authority or any other authority. Nothing extra shall be payable for the same other than the fees paid to such authorities, which shall be reimbursed on production of receipts.

**Contractor Sign & Seal**

**Annexure - A**

**BID SUBMISSION FORM**

*Date:*

**LETTER OF BID**

To

REGISTRAR

BIRLA INSTITUTE OF TECHNOLOGY, MESRA

RANCHI-835 215 (JHARKHAND) - INDIA

Ref: Invitation for Bid No. **BIT MESRA Tender No. 1920GPE00143** Dated JANUARY , 2020

We, the undersigned, declare that:

1. We have examined and have no reservations to the Bidding Documents, including Addenda issued in accordance with Instructions to Bidders.
2. We offer to execute in conformity with the Bidding Documents for Civil Construction Work of Smart Class Room at BIT Mesra Ranchi. of Birla Institute of Technology, Mesra, Ranchi-835215.
3. Our bid shall be valid for a period of 120 days from the date fixed for the bid submission deadline in accordance with the Bidding Documents and it shall remain binding upon us and maybe accepted at any time before the expiration of that period.
4. If our bid is accepted, we commit to submit a performance security in accordance with the Bidding Documents.
5. We also declare that any Government of India or any other Government/Private body has not declared us ineligible or black listed us on charges of engaging in corrupt, fraudulent, collusive or coercive practices or any failure/lapses of serious nature.
6. We also accept all the terms and conditions of this bidding document and undertake to abide by them, including the condition that you are not bound to accept highest ranked bid / lowest bid or any other bid that you may receive.
7. The rates quoted by me are valid and binding upon me for the entire period of contract and it is certified that the rates quoted are the lowest rates as quoted in any other institution in India.
8. I/We give the rights to the competent authority of the office of BIT MESRA to forfeit the Earnest Money/ Security money deposit by me/us in case of breach of conditions of Contract.

Yours sincerely,

Authorised Signatory

(Authorised person shall attached a copy of Authorisation for signing on behalf of Bidding company)

Full Name and Designation

*(To be printed on Bidder’s letterhead)*

**Contractor Sign & Seal**

**Annexure - B**

**BIDDER INFORMATION**

***(IMPORTANT: Bidders are requested to register at the Vendor Registration Portal of***

***BIT MESRA:*** <http://purchase.bitmesra.ac.in/VendorPortal> (Vendor Registration Portal)

|  |  |  |
| --- | --- | --- |
| 1. | Vendor ID (at BIT MESRA Site) | : |
| 2. | Name of Tendering Firm / Agency | : |
|  | **(Attach certificate of registration)** |  |


1. Registration & incorporation particulars of the Firm / Agency
   1. Private Limited
   2. Public Limited

|  |  |  |  |
| --- | --- | --- | --- |
|  | iii. | Any other – Please specify | : |
| 4. | Name of Proprietor / Director(s) | | : |
| 5. | Full Address of Reg. Office (Local) | | : |
|  | Telephone No. | | : |
|  | E-Mail Address | | : |
| 6. | Full Address of Reg. Office (Corporate) | | : |
|  | Telephone No. | | : |
|  | E-Mail Address | | : |
| 7. | Bank of Firm / agency | | : |
|  | Current Account Number | | : |
|  | IFSC Code | | : |
| 8. | GST No. |  | : |
|  | **(Attach attested copy)** | |  |
| 9. | PAN No |  | : |
|  | **(Attach attested copy)** | |  |
| 10. | E.P.F. Registration No. | | : |
|  | **(Attach attested copy)** | |  |
| 11. | E.S.I. Registration No | | : |
|  | **(Attach attested copy)** | |  |
|  | |  | **Contractor Sign & Seal** |

**Annexure - C**

**FORM**

**(UPTO THE PRECEDING MONTH OF SUBMISSION OF BID)**



|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S. |  | Name of the |  | **Details of client** |  | Contract |  | **Start** |  | **Finish** | Work done up | Value of existing |
| No |  | **Work / Project** |  | **along with** |  | Value |  | **Date** |  | **Date** | to the | commitments and |
|  |  |  |  | **address and** |  |  |  |  |  |  | preceding | ongoing works to be |
|  |  |  |  | **telephone** |  |  |  |  |  |  | month of | completed (for all the |
|  |  |  |  |  |  |  |  |  |  |  | submission of | clients of the Bidder) |
|  |  |  |  |  |  |  |  |  |  |  | bid | during the period of |
|  |  |  |  |  |  |  |  |  |  |  |  | completion of work |
|  |  |  |  |  |  |  |  |  |  |  |  | for which bids have |
|  |  |  |  |  |  |  |  |  |  |  |  | been invited (**i.e.** |
|  |  |  |  |  |  |  |  |  |  |  |  | **Balance value of** |
|  |  |  |  |  |  |  |  |  |  |  |  | **work**) |
|  |  |  |  |  |  |  |  |  |  |  |  | **(B)** |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |

**Note:** The bidder shall also include the value of all such works which are awarded to bidder butyet not started up to the preceding month of submission of bid. Any misrepresentation by the bidder will debar him/her for 2 years from BIT MESRA works.

**Date:**

**Place:**

**Signature of authorized person**

**Contractor Sign & Seal**

**Annexure - D**

**PROFORMA IN RESPECT OF DETAILS ON WORKING BID CAPACITY**

**NAME OF THE BIDDER :**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**FINANCIAL INFORMATION**

1. Financial Analysis: Details to be furnished duly supported by figures in Balance Sheet / Profit & Loss Account for the last 3 (ending 31st March of preceding FY) years duly certified by the Chartered Accountant, as submitted by the applicant to the Income Tax Department (Certified copies to be attached).



1st FY

2ndFY

3rd FY (ending

31st March of

Average turnover.

annual

preceding FY)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Rs. | Rs. | Rs | (In Rs | (In Lacs) |
| (In Lacs) | (In Lacs) | Lacs) |  |  |
| a | b | c |  | (a +b + c) / 3 |

(1)

Gross turnover

Annual

of

construction works

only.

1. Provisional balance sheets for FY (ending 31st March of preceding FY), duly certified by Chartered Accountants is also permitted in case the Audited Balance Sheet in not available.

**Signature of Chartered**

**Accountant with Seal**

**Seal and Signature of**

**Bidder**

**Contractor Sign & Seal**

**PART - II**

***(To be submitted in a separate envelope)***

**SECTION-4**

**GENERAL CONDITIONS OF CONTRACT (GCC)**

**Contractor Sign & Seal**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | **GCC INDEX** |  | | | |  |  |  |  | | |  |
|  |  |  |  |  | | | |  |  |  |  | | |  |
| **CLAUSE** |  |  |  |  | | | |  |  |  |  | | |  |
| **NO** |  | **DESCRIPTION** | |  | | | |  |  |
|  |  |  |  |  | | | |  |  |  |  | | |  |
| 1 |  | DEFINITIONS | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  |  | | |  |
| 2 |  | SECURITY DEPOSIT | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 3 |  | MOBILIZATION ADVANCE | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 4 |  | SECURED ADVANCE AGAINST NON-PERISHABLE MATERIALS | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 5 |  | DEVIATIONS / VARIATIONS EXTENT AND PRICING | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 6 |  | ESCALATION | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 7 |  | LIQUIDITY DAMAGES / COMPENSATION FOR DELAY | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 8 |  | ACTION IN CASE WORK NOT DONE AS PER SPECIFICATIONS | |  | | | |  |  | | |  |
|  |  |  | | | | | |  |  | | |  |
| 9 |  | CANCELLATION/DETERMINATION OF CONTRACT IN FULL OR PART | | | | | |  |  | | |  |
|  |  |  | | | | | |  |  |  |  | | |  |
| 10 |  | CONTRACTOR LIABLE TO PAY COMPENSATION EVEN IF ACTION NOT | | | | | |  |  | | |  |
|  | TAKEN UNDER CLAUSE 9 | |  | | | |  |  | | |  |
|  |  |  | | | |  |  |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 11 |  | SUSPENSION OF WORKS | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 12 |  | FORECLOSURE OF CONTRACT | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 13 |  | TERMINATION OF CONTRACT | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 14 |  | TIME ESSENCE OF CONTRACT & EXTENSION FOR DELAY | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 15 |  | TAXES AND DUTIES | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 16 |  | INCOME TAX DEDUCTION (TDS) | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 17 |  | INSURANCE | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 18 |  | PAYMENTS | |  | | | |  |  | | |  |
|  |  |  | |  | | | |  |  | | |  |
| 19 |  | MATERIALS AND SAMPLES | |  | | | |  |  | | |  |
|  | | | |  | |  |
|  | | | |  |






|  |  |
| --- | --- |
| 20 | MOBILIZATION OF MEN, MATERIALS AND MACHINERY |
|  |  |
| 21 | SAFETY |
|  |  |
| 22 | HINDRANCE REGISTER |
|  |  |
| 23 | MEASUREMENTS OF WORKS |
|  |  |
| 24 | COMPLETION CERTIFICATE |
|  |  |
| 25 | DEFECTS LIABILITY PERIOD |
|  |  |
| 26 | RESTRICTION ON SUBLETTING |
|  |  |
| 27 | FORCE MAJEURE |
|  |  |
| 28 | NO COMPENSATION CLAUSE |
|  |  |
| 29 | WORK IN MONSOON AND RAIN, SUNDAYS, HOLIDAYS AND DURING |
| NIGHT |
|  |
|  |  |
| 30 | WATER AND ELECTRICITY |
|  |  |
| 31 | WATCH, WARD AND LIGHTING OF WORK PLACE |
|  |  |
| 32 | SCHEDULE OF QUANTITIES / BILL OF QUANTITIES |
|  |  |
| 33 | WATER PROOF TREATMENT |
|  |  |
| 34 | LABOUR LAWS TO BE COMPLIED BY THE CONTRACTOR |
|  |  |
| 35 | LABOUR RECORDS |
|  |  |
| 36 | LABOUR CESS |
|  |  |
| 37 | INSOLVENCY |
|  |  |
| 38 | CURRENCIES OF BID AND PAYMENTS |
|  |  |
| 39 | GOVERNING LAWS AND SETTLEMENT OF DISPUTE |
|  |  |
| 40 | JURISDICTION |
|  |  |

**Contractor Sign & Seal**

1. **DEFINITIONS**

**1.1General**

**In this Contract including the Schedules the following words and expressions shall (unless the context requires otherwise) have the meaning assigned to them in this Schedule.**



AGREEMENT

CONTRACTOR

OWNER/ CLIENT / BIT

PARTY

LETTER OF ACCEPTANCE

CONFIDENTIAL INFORMATION

The word “Agreement” and “Contract” has been used interchangeably.

The word "Contractor" and the "Successful Bidder' has been used interchangeably.

shall mean Birla Institute of Technology, Mesra, Ranchi - 835215 (JHARKHAND).

The word “party” means the Successful Bidder to whom the work contract has been awarded by the Client.

Shall mean the intent of the Client to engage the successful bidder for providing goods and services in its premises

shall mean all information that is not generally known and which is obtained / received during the tenure of the contract and relates directly to the business / assets of Client including the information having the commercial value.

TERMINATION DATE

TERMINATION NOTICE

CONTRACTOR

Shall mean the date specified in the notice of Termination given by either Party to the other Party, from which the Contract shall stand terminated.

Shall mean the notice of Termination given by either Party to the other Party

shall mean the individual, firm, LLP or company, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or LLP or company, or the successors of such firm or company and the permitted assignees of such individual, firm or company

means approved in writing including subsequent written

APPROVAL

confirmation of previous verbal approval

**Contractor Sign & Seal**

BILL OF QUANTITIES OR SCHEDULE OF QUANTITIES


CONTRACT VALUE

DATE OF COMMENCEMENT OF WORK

INCHARGE P & D

LETTER OF AWARD

means the priced and completed Bill of Quantities or Schedule of Quantities forming part of the tender



means the sum for which the tender is accepted as per the letter of Award

The date of start of contract shall be reckoned from 10 days after the date of issue of letter of Award, unless and until agreed otherwise

means the Engineer of BIT MESRA who shall supervise and be in-charge of the work

shall mean CLIENT’s letter or notification conveying its acceptance of the tender subject to such conditions as may have been stated therein

1. **SECURITY DEPOSIT**

Security Deposit shall consist of two parts:

1. PERFORMANCE SECURITY TO BE SUBMITTED AT AWARD OF WORK AND
2. RETENTION MONEY TO BE RECOVERED FROM RUNNING BILLS.
3. **PERFORMANCE SECURITY**

2.1 The successful bidder within fifteen days of the acceptance of the LoA shall execute a Performance Bank Guarantee in the form of a Bank Guarantee of any scheduled banks, a sum equivalent to 5% of the accepted contract value in favour of BIT MESRA, payable at Ranchi.

2.1.1 The Performance Bank Guarantee shall remain in force throughout the period of the Contract. The Performance Guarantee shall be initially valid up to the stipulated date of completion plus 60 days beyond that. In case the time for completion of works gets extended, the contractor shall get the validity of Performance Guarantee extended to cover such extended time for completion of work.

2.1.2 In case the contractor fails to submit the performance guarantee of the requisite amount within the stipulated period or extended period, letter of Award automatically will stand withdrawn and EMD of the contractor shall be forfeited/ adjustment shall be made from RA Bill.

2.1.3 BIT MESRA reserves the right of forfeiture of the performance guarantee in the event of the contractor’s failure to fulfil any of the contractual obligations or in the event of termination of contract as per terms and conditions of contract.

**Contractor Sign & Seal**

2.1.4 Performance guarantee shall be returned without any interest after successful completion / testing /commissioning and handing over the project to the client up to the entire satisfaction of BIT MESRA/ Client.

**2.2 ADDITIONAL PERFORMANCE SECURITY DEPOSIT**

For **identified abnormally low rate (ALR) items**, the contractor will be required to deposit with BIT MESRA the difference in amount calculated between the departmental justified rate multiplied by the quantity of a particular ALR item and the ALR rate quoted by the contractor multiplied by the quantity of the same item. The total amount to be deposited will be the sum total of all the identified ALR items calculated as per the method outlined above.

The amount so retained shall be released after successful completion of the individual item ALR items of work.

**B. SECURITY DEPOSIT/ RETENTION MONEY**

2.1 The Security deposit or the retention money shall be deducted from each running bill of the contractor @ 5% (five per cent only) of the gross value of the Running Account bill. The Earnest money deposited in the form of Demand Draft/ECS Transfer shall be adjusted against the security deposit and further recovery of security deposit shall commence only when the up to date amount of security deposit exceeds the earnest money deductible under this clause. No Interest shall be paid on amount so deducted.

2.2 The release/refund of security deposit of the contractor shall be subject to the observance/compliance of the conditions as under and whichever is later:

1. Expiry of the defect liability period in conformity with provisions contained in clause 25 (**Defect** **liability clause**). The expiry of defect liability period shall be extended from time to timedepending upon extension of time granted by BIT.
2. The contractor produces a clearance certificate from the labour office. As soon as the work is virtually completed, the contractor shall apply for the labour clearance certificate to the Labour Officer under intimation to the Incharge P & D . The Incharge P & D , on receipt of the said communication, shall write to the Labour Officer to intimate if any complaint is pending against the contractor in respect of the work. If no complaint is pending, on record till after 3 months after completion of the work and/or no communication is received from the Labour Officer to this effect till six months after the date of completion, it will be deemed to have received the clearance certificate.

2.3 BIT MESRA reserves the right of part or full forfeiture of security deposit in addition to other claims in the event of contractor’s failure to fulfill any of the contractual obligations or in the event of termination of contract as per terms and conditions of contract.

**Contractor Sign & Seal**

**3** **MOBILIZATION ADVANCE**

3.1 If the Contract Value exceeds 50 Lakhs, Mobilization advance up to maximum of 10% of Contract Value shall be paid to the contractor, if requested by him/her, on submission of irrevocable Bank Guarantee valid for contract period of an amount 1.2 times of the mobilization advance.

3.1.1 The Mobilization advance shall be interest bearing @ 10% Simple Interest.

3.2.1 The mobilization advance shall be released only after obtaining a bank Guarantee bond from a schedule bank for the amount of advance to be released and valid for the contract period. This shall be kept renewed time to time to cover the balance amount and likely period of complete recovery together with interest. The interest on the advance shall be calculated from the date of payment to the date of recovery, both days inclusive and shall be calculated from the date of payment to the date of recovery (365 days in a year), on the outstanding amount of advance.

3.2.2 This advance shall be paid in **three instalments** as follows:

1. First Instalment of 50% of total mobilization advance shall be paid after the agreement is signed and upon submission of performance guarantee for full amount as specified.
2. 2nd instalment of 25% of total mobilization advance will be paid after the setting up of site office and site laboratory, complete mobilization of plant and machinery, scaffolding & shuttering materials etc.
3. The Balance 25% of total mobilization advance shall be paid on completion of 10% of work in terms of cost and after the contractor has fully mobilized the work at site.

3.2.3 It shall be ensured that at any point of time, Bank Guarantee is available for the amount of outstanding advance.

3.2.4 The recovery should be commenced after 10% of work is completed and the entire amount together with interest shall be recovered by the time 80% of the work is completed.

**4** **SECURED ADVANCE AGAINST NON-PERISHABLE MATERIALS**

Not applicable to this contract.

1. **-*deleted.***
2. **ESCALATION**

No claim on account of any escalation on whatsoever ground shall be entertained at any stage of works. All rates as per Bill of Quantities (BOQ) quoted by contractor shall be firm and fixed for entire contract period as well as extended period for completion of the works. No escalation shall be applicable on this contract.

**7** **LIQUIDITY DAMAGES / COMPENSATION FOR DELAY**

**Contractor Sign & Seal**

7.1 If the contractor fails to complete the work within the date of completion or extended date of completion, he shall without prejudice to any other right or remedy available under the law to BIT MESRA on account of such breach, pay as compensation (Liquidated Damages): half percent (½ %) of the contract /Revised Contract amount whichever is less, per week of delay .

7.2 The aggregate of such compensation/ compensations shall not exceed 10% of the total contract /revised contract value and adjusted against any sum payable to the contractor under this or any other contract with BIT MESRA.

7.3 If BIT MESRA is satisfied, that the works can be completed within a reasonable time after the specified time of completion, may allow further extension of time at its discretion with or without the levy of L.D. If the contractor fails to complete within the further extended period, LD shall be imposed

7.4 BIT MESRA may at its sole discretion, waive the payment of compensation on request received from the contractor indicating valid and acceptable reasons if the entire work is completed within the date as specified in the contract/work order or as validly extended date without stipulating any compensation for delay.

7.5 In case, the contractor does not achieve a particular milestone mentioned elsewhere in the tender document, or the re-scheduled milestone(s) the amount shown against that milestone shall be withheld, to be adjusted against the compensation levied at the final grant of Extension of Time. With-holding of this amount or failure to achieve a milestone, shall be automatic without any notice to the Contractor. However, if the contractor catches up with the progress of work on the subsequent milestone(s), the withheld amount shall be released. In case the contractor fails to make up for the delay in subsequent milestone(s), amount mentioned against each milestone missed subsequently also shall be withheld. However, no interest, whatsoever, shall be payable on such withheld amount.

**8** **ACTION IN CASE WORK NOT DONE AS PER SPECIFICATIONS**

8.1 All works under or in course of execution or executed in pursuance of the contract, shall at all times be open and accessible to the inspection and supervision of the Incharge P & D and his authorized subordinates.

8.2 If it shall appear to the Incharge P & D or his authorized subordinates, that any work has been executed with unsound, imperfect, or unskillful workmanship, or with materials or articles provided by him/her for the execution of the work which are unsound or of a quality inferior to that contracted or otherwise not in accordance with the contract, the contractor shall, on demand in writing which shall be made within twelve months of the completion of the work from the Incharge P & D specifying the work, materials or articles complained of; notwithstanding that the same may have been passed, certified and paid for forthwith rectify, or remove and reconstruct the work so specified in whole or in part, as the case may require or as the case may be, remove the materials or articles so specified and provide other proper and suitable materials or articles at his own charge and cost. In the event of the failing to do so within a period specified by the Incharge P & D in his demand aforesaid, then the contractor shall be liable to pay compensation at the same rate as under clause 7 of the

**Contractor Sign & Seal**

contract (for non-completion of the work in time) for this default. In such case the Incharge P & D may not accept the item of work at the rates applicable under the contract but may accept such items at reduced rates as the Incharge P & D may consider reasonable during the preparation of on account bills or final bill if the item is so acceptable without detriment to the safety and utility of the item and the structure or he may reject the work outright without any payment and/or get it and other connected and incidental items rectified, or removed and re-executed at the risk and cost of the contractor. Decision of the Incharge P & D to be conveyed in writing in respect of the same will be final and binding on the contractor.

**9** **CANCELLATION/DETERMINATION OF CONTRACT IN FULL OR PART**

9.1 Subject to other provisions contained in this clause the Incharge P & D may, without prejudice to his any other rights or remedy against the contractor in respect of any delay, inferior workmanship, any claims for damages and / or any other provisions of this contract or otherwise, and whether the date of completion has or has not elapsed, by notice in writing absolutely determine the contract in any of the following cases:

1. If the contractor having been given by the Incharge P & D a notice in writing to rectify, reconstruct or replace any defective work or that the work is being performed in an inefficient or otherwise improper or un-workmanlike manner shall omit to comply with the requirement of such notice for a period of seven days thereafter; or
2. If the contractor has, without reasonable cause, suspended the progress of the work or has failed to proceed with the work with due diligence so that in the opinion of the Incharge P & D (which shall be final and binding) he will be unable to secure completion of the work by the date for completion and continues to do so after a notice in writing of seven days from the Incharge P & D ; or
3. If the contractor persistently neglects to carry out his obligations under the contract and / or commits default in complying with any of the terms and conditions of the contract and does not remedy it or take effective steps to remedy it within 7 days after a notice in writing is given to him/her in that behalf by the Incharge P & D ; or
4. If the contractor shall obtain a contract with BIT MESRAas a result of wrong tendering or other non-bona-fide methods of competitive tendering or commits breach of Integrity Pact; or
5. Transfers, sublets , assigns full or a part of work without prior approval of department.

9.2 When the contractor has made himself/herself liable for action under any of the cases aforesaid, the Incharge P & D may without prejudice to any other right or remedy which shall have accrued or shall accrue hereafter to BIT, by a notice in writing to cancel the contract as whole or only such items of work in default from the Contract, shall determine the amount, if any, is recoverable from the contractor for completion of the part work/part incomplete work of any item(s) taken out of his hands and execute at the risk and cost of the contractor, the liability of contractor on account of loss or damage suffered by BIT MESRA because of action under this clause shall not exceed 10% of the tendered value of the work. The Incharge P & D shall have powers:

**Contractor Sign & Seal**

1. To determine or rescind the contract as aforesaid (of which termination or rescission notice in writing to the contractor under the hand of the Incharge P & D shall be conclusive evidence). Upon such determination or rescission the full security deposit recoverable under the contract and performance guarantee shall be liable to be forfeited and un-used materials, construction plants, implements, temporary buildings, etc. shall be taken over and shall be absolutely at the disposal of BIT. If any portion of the Security Deposit has not been paid or received it would be called for and forfeited; and/ or
2. To employ labour paid by BIT MESRA and to supply materials to carry out the work or any part of the work debiting the contractor with the cost of the labour and the price of the materials of the amount of which cost and price certified by the Incharge P & D shall be final and conclusive against the contractor and crediting him/her with the value of the work done in all respects in the same manner and at the same rates as if it had been carried out by the contractor under the terms of his contract. The certificate of the Incharge P & D as to the value of the work done shall be final and conclusive against the contractor provided always that action under the sub-clause shall only be taken after giving notice in writing to the contractor. If the expenses incurred by BIT MESRA are less than the amount payable to the contractor at his agreement rates, the difference shall not be paid to the contractor; and/ or
3. By a notice in writing to withdraw from the contractor any items or items of work as the Incharge P & D may determine in his absolute discretion and get the same executed at the risk and cost of the contractor.

9.3 Any excess expenditure incurred or to be incurred by BIT MESRA in completing the works or part of the works or the excess loss or damages suffered or may be suffered by BIT MESRA as aforesaid after allowing such credit shall without prejudice to any other right or remedy available to BIT MESRA in law be recovered from any moneys due to the contractor on any account, and if such moneys are not sufficient the contractor shall be called upon in writing and shall be liable to pay the same within 30 days.

9.4 If the contractor shall fail to pay the required sum within the aforesaid period of 30 days, the Incharge P & D shall have the right to sell any or all of the contractors unused materials, constructional plant, implements, temporary buildings, etc. and apply the proceeds of sale thereof towards the satisfaction of any sums due from the contractor under the contract and if thereafter there be any balance outstanding from the contractor, it shall be recovered in accordance with the provisions of the contract and law.

9.5 Any sums in excess of the amounts due to BIT MESRA and unsold materials, constructional plant etc. shall be returned to the contractor, provided always that if cost or anticipated cost of completion by BIT MESRA of the works or part of the works is less than the amount which the contractor would have been paid had he completed the works or part of the works, such benefit shall not accrue to the contractor.

9.6 In the event of anyone or more of the above courses being adopted by the Incharge P & D the contractor shall have no claim to compensation for any loss sustained by him/her by reasons of his having purchased or procured any materials or entered into any engagements or made any advances on account or with a view to the execution of the work or the performance of the contract. And in case

**Contractor Sign & Seal**

action is taken under any of the provision aforesaid the contractor shall not be entitled to recover or be paid any sum for any work thereof or actually performed under this contract unless and until the Incharge P & D has certified in writing the performance of such work and the value payable in respect thereof and he shall only be entitled to be paid the value so certified.

9.7 Provided further that if any of the recoveries to be made, while taking action as above, are in excess of the security deposit forfeited, these shall be limited to the amount by which the excess cost incurred by the BIT MESRA exceeds the security deposit so forfeited.

**10** **CONTRACTOR LIABLE TO PAY COMPENSATION EVEN IF ACTION NOT TAKEN UNDER CLAUSE 9**

In any case in which any of the powers conferred upon the Incharge P & D by relevant clause thereof, shall have become exercisable and the same are not exercised, the non-exercise thereof shall not constitute a waiver of any of the conditions hereof and such powers shall notwithstanding be exercisable in the event of any future case of default by the contractor and the liability of the contractor for compensation shall remain unaffected.

**11** **SUSPENSION OF WORKS**

11.1 The contractor shall, on receipt of the order in writing of the Incharge P & D , suspend the progress of the works or any part thereof for such time and in such manner as the Incharge P & D may consider necessary for any of the following reasons:

1. On account of any default on part of the contractor, or
2. For proper execution of the works or part thereof for reason other than the default of the contractor, or
3. For safety of the works or part thereof.

The contractor shall, during such suspension, properly protect and secure the works to the extent necessary and carry out the instructions given in that behalf by the Incharge P & D .

11.2 If the suspension is ordered for reasons (ii) and (iii) in sub-para (a) above:

1. The contractor shall be entitled to an extension of the time equal to the period of every such suspension plus 25% for completion period. No adjustment in contract price will be allowed for reasons of such suspension.
2. If such suspension exceeds 45 (forty five) days, the contractor will be compensated on mutually agreed terms.
3. In the event of the Contractor treating the suspension as an abandonment of the Contract by BIT, he shall have no claim to payment of any compensation on account of any profit or advantage which he may have derived from the execution of the work in full.

**12** **FORECLOSURE OF CONTRACT**

**Contractor Sign & Seal**

BIT MESRA at any point of time can abandon/reduce scope of work by issuing a notice to the contractor and contractor shall act accordingly. The contractor has no claim for payment of compensation other than those mentioned below:-

1. The expenditure incurred by the contractor on preliminary works.
2. Full amount for works executed up to the date of abandonment.
3. Materials brought out to be delivered at site, which the contractor is legally liable to pay, for the purpose of works carried out or were to be carried out but for the foreclosure, including the cost of purchase and transportation and cost of delivery of such materials.
4. Transportation of tools and plants of the contractor from site to contractor's place or to any other destination, whichever is less.

**13** **TERMINATION OF CONTRACT**

The contract shall also stand terminated under any of the following circumstances:

1. If the contractor being an individual in case of proprietary concern or in the case of a partnership firm, any of the partners declared insolvent as per provisions of Insolvency Act.
2. In case of contractor being a company, its affairs are under Liquidation either by a resolution passed by the contractor’s company or by an order of court.
3. On the death of the contractor.
4. If the contractor shall suffer an execution being levied on his / their goods, estates and allowed it to be continued for a period of 21 days.

**14** **TIME ESSENCE OF CONTRACT & EXTENSION FOR DELAY**

14.1 The time allowed for execution of the Works as specified in the Work Award or the extended time in accordance with these conditions shall be the essence of the contract. The execution of the works shall commence from such time period as mentioned in Work Award or the date on which the Incharge P & D issues written orders to commence the work.

14.2 Within 10 (Ten) days of Letter of Award, the Contractor shall submit a Time and Progress Chart (CPM/ PERT/ Quantified Bar Chart) and get it approved by the Incharge P & D . The Chart shall be prepared in direct relation to the time stated in the contract documents for completion of items of the works. It shall indicate the forecast (mile-stones) of the dates of commencement and completion of various items, trades, sections of the work and may be amended as necessary by agreement between the Incharge P & D and the Contractor within the limitations of time stipulated in the Contract documents. **This approved Network/ PERT Chart shall form a part of the agreement**. Achievement of milestones as well as total completion has to be within the time period allowed.

14.3 Contractor shall mobilize and employ sufficient resources for completion of all the works as indicated in the agreed BAR CHART/PERT Network. No additional payment will be made to the contractor for any multiple shift work or other incentive methods contemplated by him/her in his work schedule even though the time schedule is approved by the Incharge P & D .

**Contractor Sign & Seal**

14.4 If the work(s) be delayed by:

1. force-majeure; or
2. Abnormally bad weather; or
3. Serious loss or damage by fire; or
4. Civil commotion, local commotion of workmen, strike or lockout, affecting any or the trades employed on the work; or
5. Delay on the part of other contractors or tradesmen engaged by Incharge P & D in executing work not forming part of the Contract; or
6. Non-availability of stores, which are responsibility of BIT; or
7. Non-availability or break down of tools and plant to be supplied or supplied by BIT; or
8. Any other cause which, in the absolute discretion of BIT, is beyond the Contractor’s control,

then upon the happening of any such event causing delay, the Contractor shall immediately give notice thereof in writing to the Incharge P & D within 07 days but shall nevertheless use constantly his best endeavour to prevent or make good the delay and shall do all that may be reasonably required to the satisfaction of the Incharge P & D to proceed with the works.

14.4 Request for extension of time, to be eligible for consideration, shall be made by the Contractor in writing within fourteen days of the happening of the event causing delay. The Contractor may also, if practicable, indicate in such a request the period for which extension is desired. In any such case BIT MESRAmay give a fair and reasonable extension of time for completion of work. Such extension shall be communicated to the Contractor by the Incharge P & D in writing within a reasonable time from the receipt of such request. Non application by the contractor for extension of time shall not be a bar for giving a fair and reasonable extension by the Incharge P & D and the extension of time so given by the Incharge P & D shall be binding on the contractor.

**15** **TAXES AND DUTIES**

15.1 Except as otherwise specifically provided in the contract, the contractor shall be liable and responsible for the payment, of all taxes, such as Goods & Services Tax, excise duty, custom duty, sales tax, Value Added Tax including the purchase tax, consignment tax, work contract tax, service tax, entry tax or any other similar tax in the state concerned, turnover tax, toll tax, octroi charges, royalty, labour cess, levy and other tax(es) or duty(ies) which may be specified by local/state/ central government from time to time on all material articles / contract job including labour which may be used for this work. The rates quoted by him/her in the tender in bill of quantities shall be inclusive of all taxes, duties, levies etc.

15.2 The imposition of any new and/or increase in the aforesaid taxes, duties levies (including fresh imposition of any other Tax) is imposed by Statute, after the last stipulated date for the receipt of tender including extensions if any and the contractor thereupon necessarily and properly pays such taxes/levies/cess, the contractor shall be reimbursed the amount so paid, provided such payments, if any, is not, in the opinion of Incharge P & D attributable to delay in execution of work within the control of contractor. The contractor shall, within a period of 30 days of the imposition of any such further tax or levy or cess, give a written notice thereof to the Incharge P & D that the same is

**Contractor Sign & Seal**

given pursuant to this condition, together with all necessary information relating thereto. In the event of non payment/default in payment of any of the above taxes, BIT MESRA reserves the right to with-hold the dues/payments of contractor and make payment to local/state/Central Government authorities or to labourers as may be applicable.

15.3 The rate quoted by the contractor shall be deemed to be inclusive of all taxes. Tax deductions at source shall be made as per laws prevalent in the State as applicable for the work.

15.4 The stamp duty and registration charges, if any, on the contract agreement levied by the Government or any other statutory body, shall be paid by the contractor as applicable in the state of work.

15.5 in the event of decrease / relaxation and / or waiver of any of the existing / prevailing tax(es), duties, levies, cess by Central / state Govt. Or any other statutory body(ies), after the last stipulated date for the receipt of tender including extension (if any), and the contractor thereupon has been paid or has raised claims of such tax(es), duties, levies, cess; such sums shall be recovered / deducted (from claims raised but which has not been paid) effective from the date as reckoned in the relevant statutory order / law / ordinance etc. The contractor, shall, within a period of 30 days of any such waiver/relaxation/decrease in tax(es), duties, levies, cess, give a written notice thereof to Incharge P & D stating the statutory change with documentary proof thereto. Provided always that Incharge P & D shall have full powers to effect recovery/deduction on account of any such statutory change even if contractor has not intimated in the event when any such statutory action comes to his notice.

**16** **INCOME TAX DEDUCTION (TDS)**

Income tax deductions shall be made from all payments made to the contractor including advances against work done, as per the rules and regulations in force, in accordance with the Income Tax act prevailing from time to time.

1. **INSURANCE (CONTRACTOR ALL RISK POLICY)**
   1. The contractor is responsible for loss or damage to the work and shall at his own cost repair and make good the loss/damage to the work.
   2. The contractor/contractors shall take following insurance policies during the full contract period at his own cost:
      1. The policy shall cover for the works and for all materials at site so that the value of the works executed and the materials at site up to date are sufficiently covered against risk of loss/damage to the extent as permissible under the law of insurance. The contractor shall arrange insurance in joint names of BIT MESRA and the contractor. All premiums and other insurance charges of the said insurance policy shall be borne by the contractor
      2. All insurance claims and compensations payable by the insurers, shall be paid to the Employer and the same shall be released to the contractor in installments for the purpose of rebuilding or repair of the works and/or goods destroyed or damaged for which payment was received from the insurers. Policies and certificates for insurance shall be delivered by

**Contractor Sign & Seal**

the contractor to the Incharge P & D for his approval before the starting date. Alterations to the terms of insurance shall not be made without the approval of Incharge P & D .

* 1. The contractor shall at all times during the tenure of the contract indemnify BIT MESRA against all claims, damages or compensation under the provision of the Workmen's Compensation Act and shall take insurance policy covering all risk, claims, damages, or compensation payable under the Workmen's Compensation Act or under any other law relating thereto.

1. The contractor shall ensure that the insurance policy are kept alive till full expiry of the contract by timely payment of premiums and it/they shall not be cancelled without the approval of BIT MESRA and a provision is made to this effect in all policies, and similar insurance policies are also taken by his sub-contractors if any. The cost of premium shall be borne by the contractor and it shall be deemed to have been included in the tendered rate.
2. In the event of contractor’s failure to keep in force the insurance which the contractor is required to effect under the terms of the contract, BIT MESRA may effect and keep in force any such insurance and pay such premium/premiums as may be necessary and recover the amount thus paid from any moneys due to the contractor.

**18** **PAYMENTS**

All running payments shall be regarded as payments by way of advance against the final payment only and not as payments for work actually done and completed and/or accepted by BIT MESRA and shall not preclude the recovery for bad, unsound and imperfect or unskilled work to be removed and taken away and reconstructed or re-erected or be considered as an admission of the due performance of the Contract, or any part thereof, in this respect, or the accruing of any claim, nor shall it conclude, determine or affect in any way the powers of the BIT MESRA under these conditions or any of them as to the final settlement and adjustments of the accounts or otherwise, or in any other way vary/ affect the contract. The final bill shall be submitted by the contractor within three months of the completion of work, otherwise BIT’s certificate of the measurement and of the total amount payable for the work accordingly shall be final and binding on contractor. Each Running Bills should be accompanied by two sets of at least 20 (twenty) photographs as per direction of Incharge P & D taken from various points depicting status of work as on Report/ Bill date and Monthly Progress Report for the concerned month in the pro-forma to be given/ approved by Incharge P & D . Intermittent progress Photographs as and when required shall also be provided by the Contractor at his own cost as per direction of Incharge P & D . No payment of running account bill shall be released unless it is accompanied by photographs and Monthly Progress Report as above.

**19** **MATERIALS AND SAMPLES**

19.1 The contractor shall, at his own expense, provide all materials, required for the works. The contractor shall at his own expense and without delay; supply to the Incharge P & D samples of materials to be used on the work and shall get the same approved in advance. All such materials to be provided by the Contractor shall be in conformity with the specifications laid down or referred to in the

**Contractor Sign & Seal**

contract. The contractor shall, if requested by the Incharge P & D furnish proof, to the satisfaction of the Incharge P & D that the materials so comply. The contractor shall at his risk and cost, submit the samples of materials to be tested or analyzed and bear all charges and cost of testing unless specifically provided for otherwise elsewhere in the contract or specifications.

19.2 The materials/products used on the works shall be one of the approved make/ brands out of list of manufacturers / brands /makes given in the tender documents. The contractor shall submit samples/ specimens out of approved makes of materials/ products to the Incharge P & D for prior approval. In exceptional circumstances Incharge P & D may allow alternate equivalent makes/brands of products/ materials at his sole discretion. The final choice of brand / make shall remain with the Incharge P & D , whose decision in this matter shall be final and binding and nothing extra on this account shall be payable to the Contractor. In case single brand/make are mentioned, other equivalent makes/ brands may be considered by the Incharge P & D .

19.3 The above provisions shall not absolve the contractor from the quality of final product and in getting the material and workmanship quality checked and approved from the Incharge P & D .

**20** **MOBILIZATION OF MEN, MATERIALS AND MACHINERY**

20.1 The contractor shall provide at his own cost all men, materials, machinery, tools & plants as required for completion of work. In addition to this, appliances, implements, other plants, ladders, cordage, tackle, scaffolding and temporary works required for the proper execution of the work, whether original, altered or substituted.

20.2 All expenses towards mobilization at site and de-mobilization including bringing in equipment, work force, materials, dismantling the equipment, clearing the site etc. shall be deemed to be included in prices quoted and no separate payment on account of such expenses shall be entertained.

20.3 It shall be entirely the Contractor’s responsibility to provide, operate and maintain all necessary construction equipment, scaffoldings and safety, gadget, lifting tackles, tools and appliances to perform the work in a workman like and efficient manner and complete all jobs as per the specifications and within the schedule time of completion of work. Further, contractor shall also be responsible for obtaining temporary electric and water connection for all purposes. The contractor shall also make standby arrangement for water & electricity to ensure un-interrupted supply.

**21** **SAFETY**

Precaution should be exercised at all times by the contractor for the protection of persons and equipment. The safety required and recommended by all applicable laws, codes, statutes and regulations shall be observed by the contractor. In case of accidents, the contractor shall be bound for compliance with all the requirements imposed by the Workmen Compensation Act or any other similar law in force & the contractor shall indemnify BIT MESRA against any claim on this account.

**Contractor Sign & Seal**

**22** **HINDRANCE REGISTER**

22.1 A Hindrance register shall be maintained by both department and the contractor at site to record the various hindrances, encountered during the course of execution.

22.2 Hindrance register will be signed by both the parties. The contractor may also record his observations in the Hindrance Register. In case the contractor has a different opinion for hindrance and a dispute arises then the matter would be referred to the Incharge P & D and or the next higher authority whose decision would be final & binding on the contractor & the decision to be communicated within 15 days.

**23** **MEASUREMENTS OF WORKS**

23.1 Incharge P & D shall, except as otherwise provided, ascertain and determine by measurement, the value of work done in accordance with the contract.

23.2 All measurements and levels shall be taken jointly by the Incharge P & D or his authorized representative and by the contractor or his authorized representative from time to time during the progress of the work and such measurements shall be signed and dated by the Incharge P & D and the contractor or their representatives in token of their acceptance. If the contractor objects to any of the measurements recorded, a note shall be made to that effect with reason and signed by both the parties.

23.3 All measurements of all items having financial value shall be entered by the contractor and compiled in the shape of the **Computerized Measurement Book** as per the format of BIT MESRAso that a complete record is obtained of all the items of works performed under the contract. All such measurements and levels recorded by the contractor or his authorized representative from time to time, during the progress of the work, shall be got checked by the contractor from the Incharge P & D or his authorized representative as per interval or program fixed in consultation with Incharge P & D or his authorized representative.

Whenever bill is due for payment, the contractor would initially submit draft computerized measurement sheets and these measurements would be got checked/test checked from the Incharge P & D and/or his authorized representative. The contractor will, thereafter, incorporate such changes as may be done during these checks/test checks in his draft computerized measurements, and submit to CLIENT a computerized measurement book, duly bound, and with its pages machine numbered. The Incharge P & D and/or his authorized representative would thereafter check this MB, and record the necessary certificates for their checks/test checks.

The final, fair, computerized measurement book given by the contractor, duly bound, with its pages numbered, should be 100% correct, and no cutting or over-writing in the measurements would thereafter be allowed. If at all any error is noticed, the contractor shall have to submit a fresh computerized MB with its pages duly numbered and bound, after getting the earlier MB cancelled by the

**Contractor Sign & Seal**

CLIENT. The contractor shall submit two spare copies of such computerized MB’s for the purpose of reference and record by the various officers of the CLIENT.

The contractor shall also submit to the department separately his computerized Abstract of Cost and the bill based on these measurements, duly bound, and its pages numbered along with two spare copies of the “bill.

23.4 It is also a term of this contract that checking and/or test checking the measurements of any item of work in the measurement book and/or its payment in the interim, on account of final bill shall not be considered as conclusive evidence as to the sufficiency of any work or material to which it relates nor shall it relieve the contractor from liabilities from any over measurement or defects noticed till completion of the defects liability period.

**24** **COMPLETION CERTIFICATE**

24.1 Within ten days of the completion of the work, the contractor shall give notice of such completion to the Incharge P & D and within thirty days of the receipt of such notice, the Incharge P & D shall inspect the work and if there is no defect in the work, shall furnish the contractor with a final certificate of completion, otherwise a provisional certificate of physical completion indicating defects (a) to be rectified by the contractor and/or (b) for which payment will be made at reduced rates, shall be issued.

24.1.1 But no final certificate of completion shall be issued, nor shall the work be considered to be complete until the contractor shall have removed from the premises on which the work shall be executed all scaffolding, surplus materials, rubbish and all huts and sanitary arrangements required for his/their work people on the site in connection with the execution of the works as shall have been erected or constructed by the contractor(s) and cleaned off the dirt from all wood work, doors, windows, walls, floor or other parts of the building, in, upon, or about which the work is to be executed or of which he may have had possession for the purpose of the execution; thereof, and not until the work shall have been measured by the Incharge P & D .

24.2 If the contractor shall fail to comply with the requirements of this Clause as to removal of scaffolding, surplus materials and rubbish and all huts and sanitary arrangements as aforesaid and cleaning off dirt on or before the date fixed for the completion of work, the Incharge P & D may at the expense of the contractor remove such scaffolding, surplus materials and rubbish etc., and dispose of the same as he thinks fit and clean off such dirt as aforesaid, and the contractor shall have no claim in respect of scaffolding or surplus materials as aforesaid except for any sum actually realized by the sale thereof less actual cost incurred on removal of materials / debris / malba etc.

24.3 The contractor shall submit completion plan as required vide General Specifications for Electrical works as applicable within thirty days of the completion of the work. In case, the contractor fails to submit the completion plan as aforesaid, he shall be liable to pay a sum equivalent to 2.5% of the value of the work subject to a ceiling of Rs.5,00,000 (Rs. Five Lakhs only) as may be fixed by the Incharge P & D

**Contractor Sign & Seal**

concerned and in this respect the decision of the Incharge P & D shall be final and binding on the contractor.

24.4 Four copies of ‘as built’ drawings shall be supplied to BIT MESRAby the contractor within 30 days of the completion. All costs incurred in this respect shall be borne by the contractor.

**25** **DEFECTS LIABILITY PERIOD**

The contractor shall be responsible for the rectification of defects in the works for a period twelve months from the date of taking over of the works by BIT MESRA whichever is later. Any defects discovered and brought to the notice of the contractor forthwith shall be attended to and rectified by him/her at his own cost and expense. In case the contractor fails to carry out these rectifications, the same may without prejudice to any other right or remedy available, be got rectified by BIT MESRA at the cost and expense of the contractor.

**26** **RESTRICTION ON SUBLETTING**

26.1 The contractor shall not sublet or assign the whole or part of the works except where otherwise provided, by the contract. The provision of labour on piece work basis shall not be deemed to be a subletting under this clause.

26.2 The contractor may entrust specialist items of works like MEP services, HVAC, Lifts, Building Management System, Water Proofing, and Data & Communication networking, interiors, landscaping etc. to the agencies specialized in the specific trade. The contractor shall give the names and details of such firm whom it is going to employ for approval of CLIENT. These details shall include the expertise, financial status, technical manpower, equipment, resources and list of works executed and on hand of the specialist agency. Further, prior written approval is required from CLIENT to deploy such agency / sub-contractor.

**27** **FORCE MAJEURE**

Any delay in or failure to perform of either party, shall not constitute default so as to give rise to any claim for damages, to the extent such delay or failure to perform is caused by an act of God, or by fire, explosion, flood or other natural catastrophe, governmental legislation, orders or regulation etc. The time for performance of the obligation by the parties shall be deemed to be extended for a period equal to the duration of the force majeure event. Both parties shall make their best efforts to minimize the delay caused by the force majeure event. In the event of foreclosure, the contractor shall not be entitled to any compensation whatsoever. If prior to such foreclosure the contractor has brought any materials to the site, the Incharge P & D shall always have the option of taking over of all such materials at their purchase price or at the local current rates, whichever is lower.

**28** **NO COMPENSATION CLAUSE**

The contractor shall have no claim whatsoever for compensation or idle charges against BIT MESRAon any ground or for any reason, whatsoever.

**Contractor Sign & Seal**

**29** **WORK IN MONSOON AND RAIN, SUNDAYS, HOLIDAYS AND DURING NIGHT**

29.1 The execution of the work may entail working in the monsoon also. The contractor must maintain labour force as may be required for the job and plan and execute the construction and erection according to the prescribed schedule. No special/ extra rate will be considered for such work in monsoon. The contractors’ rate shall be considered inclusive of cost of dewatering due to rains required if any and no extra rate shall be payable on this account. The stipulated period for completion of project includes the monsoon period, holidays & festivals.

29.2 For carrying out work on Sunday and Holidays or during night, the contractor will approach the Incharge P & D or his representative at least two days in advance and obtain his permission. The Incharge P & D at his discretion can refuse such permission. The contractor shall have no claim on this account whatsoever. If work demand, the contractor shall make arrangements to carry out the work on Sundays, Holidays and in two, three shifts with the approval of Incharge P & D at no extra cost to BIT.

**30** **WATER AND ELECTRICITY**

The contractor shall make his own arrangement for Water & Electrical power for construction and other purposes at his own cost and pay requisite electricity and water charges. The contractor shall also make standby arrangement for water & electricity to ensure un-interrupted supply.

**31** **WATCH, WARD AND LIGHTING OF WORK PLACE**

The contractor shall at his own cost take all precautions to ensure safety of life and property by providing necessary barriers, OBSTRUCTIONS, lights, watchmen etc. during the progress of work as directed by Incharge P & D.

**32** **SCHEDULE OF QUANTITIES / BILL OF QUANTITIES**

The quantities shown against the various items of work are only approximate quantities which may vary as per the actual requirement at site. No item which is not covered in the bill of quantities shall be executed by the Contractor without the approval of the CLIENT. In case any Extra/Substituted item is carried out without specific-approval, the same will not be paid.

**33** **WATER PROOF TREATMENT**

*As per BOQ*

**34** **LABOUR LAWS TO BE COMPLIED BY THE CONTRACTOR**

34.1 **Labour License**: The contractor shall obtain a valid license under the contract labour (Regulation

* Abolition) Act 1970 and the contract labour Act (Regulation & Abolition) Central Rules 1971 and amended from time to time, and continue to have a valid license until the completion of the work including defect liability period. The contractor shall also adhere by the provision of the child labour (Prohibition and Regulation) Act. 1986 and as amended from time to time.

**Contractor Sign & Seal**

34.2 **BOCW**: The contractor shall also comply with the provisions of the building and other Construction Workers (Regulation of Employment & Conditions of Service) Act, 1996 and the building and other Construction Workers Welfare Cess Act, 1996.

34.3 Any failure to fulfill above requirement shall attract the penal provisions of this contract arising out the resultant for non execution of the work before the commencement of work. No labour below the age of 18 years shall be employed on the work.

34.4 The contractor shall comply with the provisions of the Payment of Wages Act, 1936, Minimum Wages Act, 1948, Employees Liability Act, 1938, Workmen’s Compensation Act, 1923, Industrial Disputes Act, 1947, Maternity Benefits Act, 1961, and the Contractor’s Labour (Regulation and Abolition) Act 1970, or the modifications thereof or any other laws relating thereto and the rules made there under from time to time. The contractor shall comply with all the provisions of the minimum wages Act, 1948, contract labour Act (Regulation & Abolition) 1970, and rules framed there under and other labour laws/local laws affecting contract labour that may be brought into force from time to time.

**34.5 The contractor shall be fully responsible for observance of all labour laws applicable including local laws and other laws applicable in this matter and shall indemnify and keep indemnified BIT MESRA against effect or non observance of any such laws. The contractor shall be liable to make payment to all its employees, workers and sub-contractors and make compliance with labour laws. If BIT MESRA or the client/ owner is held liable as “Principal Employer” to pay contributions etc. under legislation of Government or Court decision in respect of the employees of the contractor, then the contractor would reimburse the amount of such payments, contribution etc. to BIT MESRA and/ or same shall be deducted from the payments, security deposit etc. of the contractor.**

34.6 **EPF**: The Contractor shall submit proof of having valid EPF registration certificate. He shall within 7 days of the close of every month, submit to BIT MESRA a statement showing the recoveries of contributions in respect of each employee employed by or through him/her and shall furnish to BIT MESRA such information as the BIT MESRA is required to furnish under the provisions of para 36 B of the EPF scheme 1952 to the EPF authorities and other information required by EPFO authorities from time to time. He shall also submit a copy of challan every month in token of proof of having deposited the subscription and contribution of workers engaged on the project.

34.6.1 **In case, the contractor is not complying the above provision BIT MESRA shall withhold payment to the** **extent of 4.70% (Four point Seven Zero percent) of the value of the Running Account bill** and shallrelease only after the submission of above mentioned details. If it is incumbent upon BIT MESRA to deposit withhold amount with EPF authorities, the withhold amount shall be deposited by BIT MESRA with EPF authorities. In such a case BIT MESRA shall not refund this withheld amount to the contractor even after the production of EPF registration certificate.

**35** **LABOUR RECORDS**

**Contractor Sign & Seal**

The contractor shall submit by the 4th & 19th of every month to the Incharge P & D of BIT MESRA a true statement, showing in respect of the second half of the preceding month and the first half of the current month, respectively, of the following data:

1. The number of the labour employed by him/her (category-wise).
2. Their working hours.
3. The wages paid to them.
4. The accidents that occurred during the said fortnight showing the circumstances under which they happened, and the extent of damage and injury caused.
5. The number of female workers who have been allowed Maternity Benefits and the amount paid to them.
6. Any other information required by Incharge P & D

Failing which the contractor shall be liable to pay to BIT, a sum not exceeding Rs.200/- for each default or materially incorrect statement. The decision of the BIT MESRA shall be final in deducting from any bill due to the contractor; the amount levied as fine and is binding on the contractor.

**36** **LABOUR CESS**

36.1 The rates of the contractor shall be inclusive of labour cess. BIT MESRA shall make a recovery @ 1% on account of labour cess from each RA bill of the contractor and labour cess so recovered/deducted shall be deposited with the Labour Board of the concerned state. In case the Labour Board is not established in the state, recovery made by BIT MESRA on account of labour cess shall be retained under suspense account and will be deposited with the Labour Board at later date as & when the Labour Board is constituted in the state.

36.2 The contractor shall also be responsible for maintaining register of beneficiaries i.e. the workers in such form as may be prescribed by the competent authority & the same shall be kept open at all reasonable times for inspection of relevant authority and officials of client / BIT MESRA.

36.3 The contractor shall be further responsible for maintaining such register & records; giving such particulars of Building workers employed by him/her, the work performed by them, the number of hours of work which shall constitute a normal working day, the wages paid to them, the receipts given by them and, such other particulars in such form as may be prescribed by the authority or BIT MESRA.

36.4 In the event of contractor failing to comply with the above clause(s) in part or in full, BIT MESRA, without prejudice to any other rights or remedy available under law or any other clause(s) of contract, shall be at absolute liberty to forfeit any sum or sums that are payable or could become payable on account of execution of contract work and decision of Incharge P & D shall be final & binding in this regard on the contractor.

**37** **INSOLVENCY**

The competent authority of BIT MESRA may at any time by notice in writing summarily terminate the contract without compensation to the contractor in any of the following events, that is to say:-

**Contractor Sign & Seal**

If the contractor being a company shall pass a resolution or the court shall make an order for the liquidation of the affairs or a receiver or Manager on behalf of the debenture holder shall be appointed or circumstances shall have arisen which entitled the court or debenture holders to appoint a receiver or Manager.

If the contractor commits any breach of this contract not herein specifically provided for: Provided always that such determination shall not prejudice any right of action or remedy which shall have accrued or shall accrue thereafter to the Client and provided also that the contractor shall be liable to pay the Client for any extra expenditure, he is thereby put to but shall not be entitled to any gain.

**38** **CURRENCIES OF BID AND PAYMENTS**

The Bidder shall submit his price bid / offer in Indian Rupees and payments under this contract will be made in Indian Rupees.

**39** **GOVERNING LAWS AND SETTLEMENT OF DISPUTE**

Any claims, disputes and or differences (including a dispute regarding the existence, validity or termination of this Contract) arising out of, or relating to this contract including interpretation of its terms shall be resolved through joint discussion of the Authorised Representatives of the concerned parties. However, if the disputes are not resolved by the discussions as aforesaid within a period 30 days, then the matter will be referred for adjudication to the arbitration of a sole arbitrator to be appointed by the Client in accordance with the provisions of the Arbitration and Conciliation Act 1996 and rules made there under including any modifications, amendments and future enactments thereto. The venue for the Arbitration will be Ranchi and the decision of the arbitrator shall be final and binding on the parties.

**40** **JURISDICTION**

The agreement shall be executed at **RANCHI** on non-judicial stamp paper purchased in **RANCHI** and the courts in **RANCHI** alone will have jurisdiction to deal with matters arising there from, to the exclusion of all other courts.

**Contractor Sign & Seal**

**SECTION-5**

**SPECIAL CONDITIONS OF CONTRACT (SCC)**

**Contractor Sign & Seal**

**SPECIAL CONDITIONS OF CONTRACT (SCC)**


1. These special conditions are meant to amplify the general specifications and general conditions of contract.
2. No payment shall be made to the contractor for any damage caused by rain, snowfall, floods or any other natural cause whatsoever during the execution of work. The damage to work will be made good by the contractor at his own cost, and no claim on this account shall be entertained.
3. All materials used shall be as per specifications and ISI marked wherever applicable. ISI marking referred relate to latest BIS code as published by Bureau of Indian Standards up to 30 days before the date of opening the tender.
4. The contractor shall give a performance test of the entire installation (s) as per standard specifications and/or as directed by the Incharge P & D and will also submit Test Certificates as are required by Municipal / Electrical authority or any other authority. Nothing extra shall be payable for the same other than the fees paid to such authorities, which shall be reimbursed on production of receipts.
5. All the activities related to project shall be properly correlated before executing any work. However in case of any discrepancy, it will be the responsibility of contractor to sort out the matter in consultation with the Engg. in charge of the work. The decision of the Incharge P & D in such cases will be final.
6. MATERIALS OBTAINED FROM DISMANTLEMENT

The contractors in course of their work should understand that all materials (e.g. stone and other materials) obtained in the work of dismantling, excavation etc. will be considered BIT MESRA’s property and may be issued to the contractor if required for use in this work at rates approved by the Employer.

1. SCOPE OF WORK

**WORK TO BE CARRIED OUT IN FOLLOWING: (1) R & D Building**

**Contractor Sign & Seal**



**LIST OF APPROVED MATERIALS**

|  |  |  |  |
| --- | --- | --- | --- |
| **MATERIAL** |  | **APPROVED MAKES** |  |
| CEMENT |  | ULTRATECH, LAFARGE, ACC, AMBUJA |  |
| MS STEEL FOR REINFORCEMENT |  | TATA TISCON, SAIL, JINDAL, ELECTROSTEEL |  |
| SIZE OF TILE- 600MMX600MM |  | CREMA, SOMANY FOR TOILET/ GIALO MARFIL, KAJARIA |  |
|  | FOR FLOORING). |  |
|  |  |  |
| IN DADO OF TOILET & KITCHEN - SIZE |  | GLOSSTRA, SOMANY FOR TOILET/ GIALO MARFIL, |  |
| OF TILE- 300MMX600MM |  | KAJARIA FOR WALL CLADDING). |  |
| PAINT |  | ASIAN, ICI DULUX, BERGER, NEROLAC |  |
|  |  |  |
| PARTITION |  | GREENLAM |  |
| SANITARY WARE & C P FITTINGS |  | HINDWARE, PARRYWARE, CERA |  |
| PVC PIPES |  | ASTRAL, SUPREME, BIRLA AEROCON |  |
| CPVC PIPES |  | ASTRAL, SUPREME, BIRLA AEROCON |  |
| UPVC PIPES |  | ASTRAL, SUPREME, BIRLA AEROCON |  |
| PVC TRAP |  | ASTRAL, SUPREME, BIRLA AEROCON |  |
| CONDUIT PIPE |  | FINOLEX, ALLWYN, ASTRAL, ORIENT |  |
| WIRE |  | POLYCAB, FINOLEX, HAVELLS, ORIENT |  |
| SWITCH & SOCKET OUTLET WITH BOX |  |  |  |
| & COVER PLATE |  | HAVELLS, ANCHOR, ROMA, L&T, ORIENT |  |
| FAN / EXHAUST FAN / LIGHTING |  | ORIENT |  |
| FIXTURES / LIGHT |  |  |  |
| 12W LED PANEL LIGHT SURFACE TYPE |  | ORIENT |  |
| LED TUBELIGHT GRACE DELITE |  |  |  |
| SQUARE 10W BATTEN 2FT(MIRROR |  |  |  |
| LIGHT & WARDROBE) |  | ORIENT |  |
| 250MV EXHAUST FAN 400 MM |  | ORIENT |  |

**Contractor Sign & Seal**

**PART – III**

***(To be submitted in a separate envelope)***

**SECTION-6**

**PRICE BID**

**Contractor Sign & Seal**

**The Tender: Price Bid**

(To be completed by the contractor)

Description of the works: Civil Construction Work of Smart Class Room at BIT Mesra Ranchi.

Ref: Tender No. 1920GPE00143 Dated JAN , 2020

To: Date :\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Birla Institute of Technology,

Mesra, Ranchi

**Subject:** Civil Construction Work of Smart Class Room in R&D at BIT Mesra Ranchi.

Reference: Letter No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ dated\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_from\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sir,

We offer to execute the works described in your letter referred to above in accordance with the Conditions of contract enclosed therewith at a total contract price of (Including all duties & taxes)

**Part 1**

Rs.\*\*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_(In figures) Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (In words)

**Part 2**

Rs.\*\*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_(In figures) Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (In words)

**Part 3**

Rs.\*\*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_(In figures) Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (In words)

**Part 4**

Rs.\*\*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_(In figures) Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (In words)

This tender and your written acceptance of it shall constitute a binding contract between us. We understand & accept that you are not bound to accept the lowest tender you receive.

We hereby confirm that this tender is valid for 120 days.

Yours faithfully,

Authorized Signatory

Name & Title of Signatory

:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address :\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Contractor Sign & Seal**

**BIRLA INSTITUTE OF TECHNOLOGY**

**BILL OF QTY. FOR** Civil Construction Work of Smart Class Room in R&D at BIT Mesra Ranchi.

**(AT-MESRA,RANCHI)**

**ALL MATERIALS TO BE APPROVED BY THE INCHARGE P & D, BIT MESRA**

BILL OF QUANTITY

**BILL OF QUANTITY FOR 6 SMART CLASS ROOM UNIT**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | | |  |  |  |  |
| **Sr. No** | **Description** | **Unit** | **Qty** | **Rate** | **GST %** | **GST AMOUNT** | **Amount** |
| **A** | **Acoustics - Interior work** |  |  |  |  |  |  |
| 1 | Providing & Fixing in position, **Acoustical Ceiling** made from **Gypsum Plain Panels** on approved heavy duty G.I. frame ceiling channels at 450 c to c, & intermediate channels not more than 1200 c to c, along with ply wood forms (100mm width & 18 mm thick waterproof ply having required length & radius) for radios at a distance not more than 3600 c to c, suspended with Hangers from Roof, in front of 800 Gsm synthetic wool 50 mm thick, with Paint, including cost of required Cut-Outs, decorative moldings / finishing-items & Scaffolding, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Sqm | 139.49 |  |  |  |  |
| 2 | Providing & Fixing in position, Acoustical Ceiling made from **Ecophon Advantage E,** with backing of synthetic wool 800 gsm 50mm thick, "T" grid ceiling on approved heavy duty T grid with 5mm black grove 600mm c to c, suspended with Hangers from Roof at 1200mm c to c, including cost of required accessories, Cut-Outs, 6 mm ply for support for lights, decorative moldings / finishing-items & Scaffolding, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Sqm | 209.23 |  |  |  |  |
| 3 | removing & re-fixing of green boards in all classrooms | Nos | 6.00 |  |  |  |  |
| 4 | Providing & Fixing in position, **Doors** made using flush door panels and plywood boxing frame having veneer & polish from both sides, finishing-items, mat finish melamine polish, approved SS brush finish l-drop & tower bolts, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. base rate of veneer Rs 1250 per sq. m | Sqm | 22.05 |  |  |  |  |
| 5 | Providing & Fixing in position, **Stage platform** using 18mm plywood covered with3 mm PVC flooring, on, 50 x 35 x 6 mm MS angle fabricated frame of 600 x 600 c to c having vertical supports of required length at 600 c to c, including cost of required Cut-Outs, decorative moldings / finishing-items as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Sqm | 102.04 |  |  |  |  |
| 6 | Providing & Fixing in position, **Matt vitrified tiles** , including cost of required fixing cement/ solution, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Sqm | 375.89 |  |  |  |  |
| 7 | Providing , **Luster paint of approved shade & make** on walls, including cost of preparation of surface, primer & 2 or more coats of paint as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Sqm | 798.78 |  |  |  |  |
| 8 | Providing & Fixing in position, **Al sliding windows**, 2 track using 16 gauge Jindal channels, power coated and 6mm plain glass including, finishing-items & Scaffolding, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Sqm | 57.96 |  |  |  |  |
| 9 | Providing & Fixing in position, **Podium** as per drawing with melamine polish including computer screen mounting provision, finishing-items, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. (Nos) | Nos | 6.00 |  |  |  |  |
| 10 | Providing & Fixing in position, paneling made from 12mm plywood & 4 mm veneer on 50mm x 50 mm salwood frame backed by synthetic wool 50mm thick 800 gsm with melamine polish including computer screen mounting provision, finishing-items, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Sqm | 37.50 |  |  |  |  |
| 11 | Removal of existing stage and doors | Nos | 6.00 |  |  |  |  |
| 12 | Providing & Fixing in position, **sliding folding partition of 45 dB STC** including operating system, finishing-items & Scaffolding, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. | Nos | 6.00 |  |  |  |  |
| 13 | Providing & Fixing in position, Decorative **Roller blind Curtain** including operating system, finishing-items & Scaffolding, as per Architectural & Acoustical Design & Instructions & Complete in all aspects. base rate of fabric Rs 450 per sq. m ( windows) | Sqm | 55.20 |  |  |  |  |
| ***B*** | ***General Lighting*** |  |  |  |  |  |  |
| 1 | Providing & Fixing in position, **14 w LED** lights warm down lighters . |  |  |  |  |  |  |
| 1a | Fixing of light including require material for holding and hard ware (Light will be paid Separate or will be provided By BIT) | No | 64.00 |  |  |  |  |
| 1b | Supply of light 14w LED warm down lighters Make- (Orent make only) | No | 64.00 |  |  |  |  |
| 2 | Providing & Fixing in position, **56" Ceiling fans** along with separate electronic controller. Wipro/ Bajaj/ Havel’s | No | 16.00 |  |  |  |  |
| 2a | Fixing of **56" Ceiling** fan require material for holding and hard ware with separate electronic controller (Light will be paid Separate or will be provided By BIT) | No | 16.00 |  |  |  |  |
| 2b | Supply of **56" Ceiling fans** with regulator Make- (Orent make only) | No | 16.00 |  |  |  |  |
| 3 | Providing & Fixing in position **electrical points** using 2.5 sq mm cable & PVC pipe for LED lights along with termination, | No | 70.00 |  |  |  |  |
| 4 | Providing & Fixing in position, 2.5 sq mm 2cables in Pvc pipe including the pipe | mtr | 327.10 |  |  |  |  |
| 5 | MCB 16-32 A 1 Ph | No | 24.00 |  |  |  |  |
| 6 | DB 1 2 Module (ISI make) | No | 6.00 |  |  |  |  |
| 7 | 5 Power Points with Switch on walls of stage & Auditorium including switch, socket & box | No | 24.00 |  |  |  |  |
| **C** | ***CCTV*** |  |  |  |  |  |  |
| 1 | Providing & Fixing in position, IP camera per classroom | No | 6.00 |  |  |  |  |
| 2 | Providing & Fixing in position, Cat 5 cable for camera | Mtr | 150.00 |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| **D** | ***Fire alarm: BIT Mesra*** |  |  |  |  |  |  |
| 1 | Providing & Fixing in position, Smoke detectors | No | 16.00 |  |  |  |  |
| 2 | Providing & Fixing in position, cabling for smoke detectors 1.5 sq mm 3 core armored | Mtr | 326.53 |  |  |  |  |
| 3 | Providing & Fixing in position Fire alarm panel with 8 zone including 2 alarms, power supply etc. | No | 2.00 |  |  |  |  |
| **E** | ***HVAC Work*** |  |  |  |  |  |  |
| 1 | Supply and Installation, testing & commissioning of all the cassettes unit including 15 mtr. Refrigerant piping with insulation, drain piping & electrical panels & cabling .MS stand for condensing unit etc all complete. Capacity 2.0 T (Split Ac) Make - .....HAIIR.............................. |  |  |  |  |  |  |
|  | Supply | No | 16.00 |  |  |  |  |
|  | Installation with Require Material and Hard ware | No | 16.00 |  |  |  |  |
| **F** | ***Computers*** |  |  |  |  |  |  |
|  | **Supply/ Installation/ Testing/ Commissioning & Equalization of complete system of the followings:** |  |  |  |  |  |  |
| 1 | Touch screen 21"screen desktop, Intel I3, 500GB, 8GB DDR, DVD, USB3, Make Dell/Lenovo |  |  |  |  |  |  |
| 1a | Supply | Nos | 6.00 |  |  |  |  |
| 1b | Installation with Require Material and Hard ware (In podium) | Nos | 6.00 |  |  |  |  |
| **G** | ***Audio System*** |  |  |  |  |  |  |
|  | **Supply/ Installation/ Testing/ Commissioning & Equalization of complete system of the followings:** |  |  |  |  |  |  |
| 1 | Ceiling Mount Loudspeaker (base price 3200) | No | **16.00** |  |  |  |  |
| 2 | Mixer Amplifier | No | **6.00** |  |  |  |  |
| 3 | Wireless Lapel Microphones | No | **6.00** |  |  |  |  |
| 4 | Podium microphone | No | **6.00** |  |  |  |  |
| 5 | Microphone Cable 2 core shielded | mtr | **290.32** |  |  |  |  |
| 6 | Speaker cable 2.5 sq mm 2 core Shielded | mtr | **348.39** |  |  |  |  |
| 7 | Installation Charges |  | **6.00** |  |  |  |  |
|  | **Total** |  |  |  |  |  |  |
|  | **BOCW-1%** |  |  |  |  |  |  |
|  | **Grand Total** |  |  |  |  |  |  |

**TECHNICAL SPECIFICATIONS**

1. All the materials to be used shall be of the best quality confirming to relevant I S code & approved by BIT.
2. All the timber used shall be of as per sample approved, with moisture contain as per I S standards & well – seasoned, free from knots, cracks, warps, and defects and shall be treated against white ants with Aldrex – Aldrin or equivalent chemicals, as per specification of the manufactures ( minimum 2 coats)
3. Rate of all items include the cost of finishing timber with synthetic enamel paint / spirit / wax polish / melamine as specified to match with surrounding surface. The decision of the BIT on the nature of finishing shall be finial and binding on the contractor without any extra cost.
4. All particle boards / ply sheets both marine and veneered block boards ( Phenol bonded ) will be water proof quality with ISI mark ISO – 9001 of approved 1ST class manufactures like Indian Plywood, Green, Euro board , Goyal , [products / Anchor or equivalent . As per I.S. 710.
5. Glue shall be Fevicol / Vamicol of equivalent brand and approved product. All glue joints shall be pressed / till glue has dried thoroughly and confirming to IS 848.
6. The contractor shall obtain the approval regarding shade , quality , type & make of color in respect of paint and polish , fabric from the BIT before purchasing . The contractor , if required , shall produce the reasonable number of samples and submit the same.
7. All unexposed surface of ceiling will have coat of primer and polish as specified or directed by the BIT.
8. Laminates if any , to be used in paneling shall be of 1.5mm thick from ISI mark ISO – 9001 of approved 1st class manufacturers .
9. The frame work of false ceiling / paneling etc. shall be laid in true line , level in both the directions , the wooden scantlings shall be straight and fixed rigidly with screws of appropriate size , at appropriate distance as directed at required level. The framework shall be painted with two coats anti – termite solution of Black Japan before the same is covered with ceiling / paneling boards etc.
10. The G.I. suspenders for false ceiling shall be straight and fixed rigidly to R.C.C. structures / slab/ roof truss / purlin of wood support etc.
11. All the G.I. suspenders, ceiling sections, perimeter channels , intermediate channels, ceiling angles, connecting clips, soffit cleats etc. used for wall paneling & ceiling should be as specified by the manufacturers ‘India Gypsum Ltd ‘ ( GS – MFSC – 4.1 ) Or Anutone acoustics Ltd. & as per directions given by the BIT .
12. The Gypsum plain panels & gypsum fully perforated panels are manufactured by India Gypsum Ltd. Fixing of these panels , filling joints, finishing & painting should be done as per the manufacturer’s specifications & directions given be the BIT. I.S. 2542 & 2095.
13. The synthetic – wool insulation shall be FR grade & made of fine , long fibers thermally bonded .The synthetic – wool make Mikron / Anutone / Conceptive or equivalent and confirming to relevant I.s. specifications will be of density specified in B.O.Q.
14. Agro – wood paneling, polishing, should be done as per the directions of the manufacturer Andaman Timber. Polish should be applied after cutting & to all the surfaces.
15. The fabric to be used should be of required acoustical grade & as per approved samples.
16. All the hardware to be used will have to be approved from the BIT.
17. Hardware fittings shall be from approved manufacturers and shall be confirming to respective I.S.I specifications.
18. Paint shall be Asian / ICI / Garware / Jenson & Nicolson or equivalent . The rates if items shall include the cost of primer , preparation of proper surface by sand papering, filling with required grade putty, two coats of paints and removing of stains on floors, walls, ceiling and other movable items .
19. Different types of paints may require for different surfaces & contractor should follow the specifications & directions given by the BIT about this.
20. Melamine polish – preparation of surface – filling grain completely with putty made of whiting powder with required strainer and Acrypol N 83 ( Pidilite Ind. Ltd ) Sand & Surface mildly with 120/150 Emery paper softer drying for 15min. polishing – 1. Mix Acrypol SP 85 matt in equal proportions. spray the mixture uniformly with a spray gun at a pressure of 30psi. 2. Allow it to dry for 6-8 hrs . 3. Sand surface with 120/150 Emery paper. 4. Repeat 1, 2 and 3 for two more coats up to required surface with of approved by the BIT.
21. The rates quoted for various items shall be inclusive of the cost of necessary framework, scaffolding, fitting of materials etc. As the work is proposed to be executed at various heights, no extra claim shall be entertained on account of execution of work at various heights / floor. The measurement of items include in this work shall not be taken and paid separately for different floor level and varying heights.
22. For Electrical part, Contractor must appoint authorized electrical sub- contractor.
23. Contractor should submit wiring layout, panel layout & DB and panel diagrams.
24. All the cables will be of Finolex, Polycab.
25. All Switchgears, Lights and Fans will be ORIENT
26. The rate quoted are including the electrical points, wiring & panels required for drapery work.
27. End termination to all cables should be using flange type brass glands of suitable size, aluminum lugs and employing standard crimping method.
28. All the components, EL CBs, Holders etc should be of standard & approved brands having ISO certificated, like L&T , Legrand , ABB Roma, **Orient** etc.
29. Supply of required power will be provided at man DP in control room by the client.
30. The contractor will arrange for testing & inspection (or certifying from appropriate authorities) of complete electrical work at his cost including materials from time to time during execution of work.
31. The work shall be carried out as per specifications. Any deviations from the Specifications, either on account of manufacturing or installation practices or for any other reasons, shall be clearly mentioned in the separate letter explaining in details each and every departure the contractor proposes to make from the specifications. Unless specifically mentioned it will be considered that the bidders agree to supply al equipment as specified. All the deviations shall be subject to the approval of the BIT.
32. Screen Desktop will be Dell/Lenovo.
33. Make of Audio visual Items- Ceiling Mount Loud speaker – Bosch, Mixer Amplifier- Bosch PLM-1 AIO, Wireless Laple Microphone – R300E A and podium Microphone –Ahuja.
34. CCTV Camera will be HIKVISON.
35. The installation of the various electrical / AV equipment and wiring shall be such as easily accessible for maintenance and routine checkups.
36. The layout and installation of the equipment shall be carried out confirming the best engineering practices.
37. The contractor shall, during the course of the installation, associate with owner nominated staff to familiarize with the system. The contractor shall agree to train the nominated staff for the operation and maintenance of the system.
38. The contractor shall guarantee that all the equipment shall be free of defects and that equipment shall operate satisfactory and that the performance and efficiencies of the equipment shall not be less than the guaranteed values.
39. BIT reserve the right to procurement of supply items through vendor or direct purchase.
40. The warranty shall be on site & the warranty period shall not be less than 12 months from the date of completion & handover.

**SECTION-7**

**STANDARD FORMATS**

**Contractor Sign & Seal**

**BIRLA INSTITUTE OF TECHNOLOGY**

**MESRA, RANCHI**

Letter No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

To,

M/s

Add:

Ph:

Email:

**Kind Attn.:**

**Subject : Letter of Acceptance Cum Notice to Proceed with** Civil Construction Work of Smart Class Room in R&D at BIT Mesra Ranchi.

**References :**

1. Your Techno commercial Bid submission dated \_\_\_\_\_\_\_\_\_ bearing reference to BIT MESRA Tender No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ dated \_\_\_\_\_\_\_\_\_\_\_.

2.

Dear Sir,

With reference to your offer, for the above mentioned subject and referred set of correspondences, we are glad to issue this letter of acceptance and notice for commencement of works for the price to be undertaken, as per following clauses:

1. **Contract Documents :** Unless and until a formed contract ( as agreed by BIT MESRA, Ranchi, andthe contractor) is prepared and executed , the following documents will constitute a binding contractor between the parties :
2. Invitation of Bids ;

II) Instructions to the Bidders ;

III) General condition of the contract including any Amendment /addenda / Corrigenda there to ;

IV) The Bid submitted by the bidder including all its attachments and the bill of quantities ;

* 1. Technical specifications and Drawings , including any Amendment / Errata thereto: VI) Agreed Quality Assurance and safety plan;

VII) Letter of Acceptance (LOA) along with its Annexure.

1. **Scope of Work**: The scope of work shall beCivil Construction Work of Smart Class Room in R&D at BIT Mesra Ranchi.,which shall include all labor, material, tools, equipment and transport which may be required in transportation, entire execution and completion of the Project.

**Contractor Sign & Seal**

1. **Contract Price:** The estimate cost of the works for the project is INR **Rs.\_\_\_\_\_\_\_\_\_\_/- (Rupees**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_) including all the taxes**.

1. **Time Schedule**: The date for the commencement of work shall be \_\_\_\_\_\_\_\_\_\_ and the workswere to be completed within \_\_\_\_\_\_\_\_\_\_\_ from the date of commencement.
2. **Terms of Payment:** Only one bill shall be prepared every \_\_\_\_\_\_\_ month which shall be basedon the joint measurement by the contractor or his representative and the representative of BIT MESRA, Ranchi.
3. **Contract Performance Guarantee:** The contract performances security / guarantee shall be 5%of the contract value and due contracts, after approval of draft guarantee bond by the owner / client shall arrange to submit the bank guarantee within 15 days of acceptance of LOA.
4. **Remedying Defects**: The contractor shall make good all damages to the works or any thereof, ifthe damages are attributable to the contracts. This will be applicable from the date of commencement to the end of Defect Liability period. The defect rectification will be at the cost of the contractor.
5. **Work Progress:** Upon acceptance of this LOA, the Incharge P & D /clients shall together withcontractor, agree upon a work schedule for the execution of the project and the progress of the contract will be based on the terms of agreed schedule.

All the terms and conditions shall be as per bidding document and subsequent amendments/ clarifications issued by the client.

If any of the provisions contained in this LOA are in conflict with the provisions of Bidding documents, then the provisions of this LOA will supersede and prevail. Similarly on signing of the contract, the provisions of the contract shall supersede and prevail the provisions of this LOA.

Please return two originals (duly signed and stamped) by an authorized signatory as a token of acknowledgment and acceptance of this LOA.

For M/s \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_. For Birla Institute of Technology, Mesra, Ranchi.

**NAME :**

**DESIGNATION:**

(Authorised Signatory)

**Contractor Sign & Seal**

**PERFORMANCE BANK GUARANTEE**

Dated [\*]

To

BIT

**Subject: Performance Bank Guarantee**

This PERFORMANCE BANK GUARANTEE (hereinafter the **"Guarantee")** is made at [] on the [.] day of [•] 2018

**WHEREAS**

1. [\*\*\*\*], a company incorporated under the Companies Act, 1956 having its registered office at [•] (hereinafter referred to as the "Contractor", which expression shall, unless repugnant to the context or meaning thereof, include its successors and permitted assigns) has entered into an Contractor Services Agreement dated [•] (hereinafter such agreement, as amended and supplemented, referred to as the “Agreement") with Birla Institute of Technology, Mesra, Ranchi (hereinafter referred to as "BIT", which expression shall, unless repugnant to the context or meaning thereof, include its successors and assigns) for undertaking the project management in coordination with BIT.
2. As per the terms and conditions of the Agreement, the Contractor is obliged to furnish to BIT MESRA an irrevocable, unconditional and automatic revolving bank guarantee from a scheduled commercial bank in India, of a value and validity as set forth hereunder.
3. [•] having its registered office at [•] and a branch office at [], India, (hereinafter referred to as the **"Bank",** which expression shall unless repugnant to the context or meaning thereof be deemed to mean and include its successors), being a schedule commercial bank in India, has at the request of the Contractor, agreed to issue this performance bank guarantee, in accordance with the terms and conditions set forth hereunder, in favour of BIT.

**NOW THEREFORE,** the Bank hereby undertakes the pecuniary responsibility of the Contractor to BIT MESRA forthe due performance of the Agreement and hereby issues in favour of BIT MESRA this irrevocable and unconditional performance and payment bank guarantee (hereinafter referred to as the **"Guarantee")** on behalf of the Contractor.

1. The Bank for the purpose hereof unconditionally and irrevocably undertakes to pay to BIT MESRA without any demur, reservation, caveat, protest or recourse immediately on receipt of first written demand from BIT, a sum or sums (by way of one or more claims) without BIT MESRA needing to prove or to show to the Bank grounds or reasons for such demand for the sum specified therein and notwithstanding any dispute or difference between BIT MESRA and the Contractor in respect of the performance of the Agreement or moneys payable by the Contractor to BIT MESRA or any matter whatsoever.

**Contractor Sign & Seal**

1. The Bank acknowledges that this Guarantee may be invoked more that once and each one of such demands by BIT MESRA of the amounts payable by the Bank to BIT MESRA shall be final, binding and conclusive evidence in respect of the amounts payable by the Contractor to BIT.
2. The Bank hereby waives the necessity for BIT MESRA from demanding the aforesaid amount or any part thereof from the Contractor and also waives any right that the Bank may have of first requiring BIT MESRA to pursue its legal remedies against the Contractor, before presenting any written demand to the Bank for payment under this Guarantee.

|  |  |  |
| --- | --- | --- |
| 4. | The Bank further unconditionally agrees with BIT MESRA that BIT MESRA shall be at liberty, without the Bank's | |
|  | consent and without affecting in any manner the Bank's obligation under this Guarantee, from | |
|  | time to time to: | |
|  | (i) | vary and/or modify any of the terms and conditions of the Agreement, |
|  | (ii) | extend and / or postpone the time for performance of the obligations of the Contractor |
|  |  | under the Agreement, or |
|  | (iii) | forbear or enforce any of the rights exercisable by BIT MESRA against the Contractor under the |
|  |  | terms and conditions of the Agreement. |

and the Bank shall not be relieved from its liability by reason of any such act or omission on the part of BIT MESRA or any indulgence by BIT MESRA to the Contractor or other thing whatsoever which under the law relating to sureties would, but for this provision, have the effect of relieving the Bank of its obligations under this Guarantee.

1. The Bank's obligations under this Guarantee shall not be reduced by reason of any partial performance of the Agreement. The Bank's obligations shall not be reduced by the failure by BIT MESRA to timely pay or perform any of its obligations under the Agreement.
2. Any payment made hereunder shall be made free and clear of and without deduction for, or on account of, any present or future charges, fees, commissions, deductions whatsoever and by whom ever imposed.

|  |  |
| --- | --- |
| 7. | This Guarantee shall be a continuing bank guarantee and shall not be discharged by the |
|  | change in constitution of any member of the Contractor and the Guarantee shall not be |

affected or discharged by the liquidation, winding up, bankruptcy, reorganization, dissolution of insolvency of the Contractor or any Affiliate of the Contractor or any other circumstances whatsoever.

1. This Guarantee shall have a minimum validity of at least twelve (12) months and shall be rolled over and renewed at least three (3) months prior to its expiry so as to keep it valid until one year following the expiry or early termination of the Agreement, whichever is earlier. Provided however that in the event the Bank does not renew the Guarantee three (3) months prior to its expiry in the manner provided above, BIT MESRA shall, irrespective of due performance of other terms of the Agreement by the Contractor, have the right to encash the entire amount of the Guarantee in one or more demands: This Guarantee shall remain valid and subsisting until released by BIT MESRA in writing.
2. This Guarantee shall be in addition to and not in substitution or in derogation of any other security held by BIT MESRA to secure the performance of the obligations of the Contractor under the Agreement.

**Contractor Sign & Seal**

1. The Bank agrees that BIT MESRA at its option shall be entitled to enforce this Guarantee against the Bank, as a principal debtor in the first instance without proceeding at the first instance against the Contractor or any other security/ guarantee that BIT MESRA may have.
2. The quantum of the Guarantee shall be Rs. [\*]/- (Rupees [\*])during the first five (5) years after the Effective Date of the Agreement (such amount being the **"Full Amount"** of the Guarantee). In the event any portion of the Guarantee is en-cashed pursuant hereto, then immediately following such encashment, the Bank shall replenish the Guarantee to its Full Amount. In the event the Guarantee is not replenished to its Full Amount within three (3) months of its encashment in any part, BIT MESRA shall have the right to en-cash the entire Guarantee.
3. This Guarantee is subject to the laws of India. Any suit, action, or other proceedings arising out of this Guarantee or the subject matter hereof shall be subject to the exclusive jurisdiction of courts of **Ranchi**.
4. Capitalised terms not otherwise defined herein shall have their respective meanings given to such terms as set forth in the Agreement.
5. The Bank has power and authority to validly to execute and issue this Guarantee and the undersigned is duly authorised to execute and deliver this Guarantee pursuant to the power granted under\_\_\_\_\_\_\_\_\_\_\_\_and its obligations under this Guarantee will be legally valid and binding and enforceable against the Bank.

15 Notices.

Any demand certificate, notice or any other communication under this Guarantee shall be (i) in writing and (ii) sent by person, or overnight courier at the following addresses:

**REGISTRAR**

**BIRLA INSTITUTE OF TECHNOLOGY, MESRA**

**RANCHI-835 215 (JHARKHAND) – INDIA**

(ii) if sent by person, when delivered,

1. if sent by courier one (1) Business Day after deposit with an overnight courier, and (iv) if sent by registered letter when the registered letter would, in the ordinary course of post, be delivered whether actually delivered or not.

All such Demand Certificates, notices and communications shall be effective (i) if sent by person, when delivered, (iii) if sent by courier one (1) Business Day after deposit by courier, and (iv) if sent by registered letter when the registered letter would, in the ordinary course of post, be delivered whether actually delivered or not.

In witness whereof the Bank, through its authorized officer, has set its hand and stamp on

|  |  |  |
| --- | --- | --- |
| this | , day of | 2017. |
| In presence of | | (1) |
|  |  | (2) |

**Contractor Sign & Seal**

**AGREEMENT FORM**

This agreement made this day of (Month) (Year), between the **BIRLA INSTITUTE OF TECHNOLOGY** **MESRA, RANCHI,** established in 1955,a premier technical institute and deemed University, having itsRegistered Office at Mesra, Ranchi – 835 215 (hereinafter referred to as the “BIT MESRA” which expression shall include its administrators, successors, executors and assigns) of the one part and **M/s(NAME OF CONTRACTOR)** (hereinafter referred to as the ‘Contractor’ which expression shall unlessthe context requires otherwise include its administrators, successors, executors and permitted assigns) of the other part.

WHEREAS, BIT MESRA (hereinafter referred to as “OWNER”), desirous of construction of **(NAME OF** **WORK)** (herein after referred to as the “**PROJECT**”), had invited tenders as per Tender documents videNIT No. \_\_\_\_\_.

AND WHEREAS **(NAME OF CONTRACTOR)** had participated in the above referred tender vide their tender dated \_\_\_\_\_ and BIT MESRA has accepted their aforesaid tender and awarded the contract for

(**NAME OF PROJECT**) on the terms and conditions contained in its Letter of Acceptance No. \_\_\_\_\_\_\_\_

and the documents referred to therein, which have been unequivocally accepted by **(NAME OF** **CONTRACTOR)** vide their acceptance letter dated \_\_\_\_\_\_\_ resulting into a contract.

NOW THEREFORE THIS DEED WITNESSETH AS UNDER:

**ARTICLE 1.0 – AWARD OF CONTRACT**

**1.1 SCOPE OF WORK**

BIT MESRA has awarded the contract to **(NAME OF CONTRACTOR)** for the work of **(NAME OF WORK)** on the terms and conditions in its letter of Acceptance No.\_\_\_\_\_\_\_\_\_\_ dated \_\_\_\_\_\_\_\_ and the documents

referred to therein. The award has taken effect from **(DATE)** i.e. the date of issue of aforesaid letter of Acceptance. The terms and expressions used in this agreement shall have the same meanings as are assigned to them in the “Contract Documents” referred to in the succeeding Article.

**ARTICLE 2.0 – CONTRACT DOCUMENTS**

2.1 The contract shall be performed strictly as per the terms and conditions stipulated herein and in the following documents attached herewith (herein after referred to as “Contract Documents”).

1. BIT MESRA Notice Inviting Tender vide No. \_\_\_\_\_\_\_\_ date \_\_\_\_\_\_and BIT MESRA’s tender documents consisting of:

VIII) Invitation of Bids ;

IX) Instructions to the Bidders ;

X) General condition of the contract including any Amendment /addenda / Corrigenda there to

;

XI) The Bid submitted by the bidder including all its attachments and the bill of quantities ;

XII) Technical specifications and Drawings , including any Amendment / Errata thereto:

1. **(NAME OF CONTRACTOR)** letter proposal dated \_\_\_\_\_\_\_\_ and their subsequent communication:
   1. Letter of Acceptance of Tender Conditions dated \_\_\_\_\_\_\_\_\_\_\_\_\_\_
   2. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
   3. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Contractor Sign & Seal**

2.2 BIT MESRA’s detailed Letter of Acceptance No. \_\_\_\_\_\_\_\_\_ dated \_\_\_\_ including Bill of Quantities,

agreed time schedule, Contractor’s Organisation Chart and list of Plant and Equipments submitted by Contractor.

2.3 All the aforesaid contract documents referred to in Para 2.1 and 2.2 above shall form an integral part of this Agreement, in so far as the same or any part thereof column, to the tender documents and what has been specifically agreed to by BIT MESRA in its Letter of Acceptance. Any matter inconsistent therewith, contrary or repugnant thereto or deviations taken by the Contractor in its “TENDER” but not agreed to specifically by BIT MESRA in its Letter of Acceptance, shall be deemed to have been withdrawn by the Contractor without any cost implication to BIT MESRA. For the sake of brevity, this Agreement alongwith its aforesaid contract documents and Letter of Acceptance shall be referred to as the “Contract”.

**ARTICLE 3.0 – CONDITIONS & CONVENANTS**

3.1 The scope of Contract, Consideration, terms of payments, advance, security deposits, taxes wherever applicable, insurance, agreed time schedule, compensation for delay and all other terms and conditions contained in BIT MESRA’s Letter of Acceptance No. \_\_\_\_\_\_\_\_\_\_ dated \_\_\_\_\_ are to be read

in conjunction with other aforesaid contract documents. The contract shall be duly performed by the contractor strictly and faithfully in accordance with the terms of this contract.

3.2 The scope of work shall also include all such items which are not specifically mentioned in the Contract Documents but which are reasonably implied for the satisfactory completion of the entire scope of work envisaged under this contract unless otherwise specifically excluded from the scope of work in the Letter of Acceptance.

3.3 Contractor shall adhere to all requirements stipulated in the Contract documents.

3.4 Time is the essence of the Contract and it shall be strictly adhered to. The progress of work shall conform to agreed works schedule/contract documents and Letter of Acceptance.

3.5 This agreement constitutes full and complete understanding between the parties and terms of the presents. It shall supersede all prior correspondence to the extent of inconsistency or repugnancy to the terms and conditions contained in Agreement. Any modification of the Agreement shall be effected only by a written instrument signed by the authorized representative of both the parties.

3.6 The total contract price for the entire scope of this contract as detailed in Letter of Acceptance is Rs.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Rupees\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ only),

which shall be governed by the stipulations of the contract documents.

**ARTICLE 4.0 – NO WAIVER OF RIGHTS**

4.1 Neither the inspection by BIT MESRA or the Incharge P & D or any of their officials, employees or agents nor order by BIT MESRA or the Incharge P & D for payment of money or any payment for or acceptance of, the whole or any part of the work by BIT MESRA or the Incharge P & D nor any extension of time nor any possession taken by the Incharge P & D shall operate as waiver of any provisions of the contract, or of any power herein reserved to BIT MESRA, or any right to damage herein provided, nor shall any waiver of any breach in the contract be held to be a waiver or any other or subsequent breach.

**ARTICLE 5.0 – GOVERNING LAW AND JURISDICTION**

5.1 The Laws applicable to this contract shall be the laws in force in India and jurisdiction of Ranchi Court

(s) only.

**Contractor Sign & Seal**

5.2 Notice of Default

Notice of default given by either party to the other party under the Agreement shall be in writing and shall be deemed to have been duly and properly served upon the parties hereto, if delivered against acknowledgment due or by or by registered mail duly addressed to the signatories at the address mentioned herein below:

**REGISTRAR**

**BIRLA INSTITUTE OF TECHNOLOGY, MESRA**

**RANCHI-835 215 (JHARKHAND) – INDIA**

IN WITNESS WHEREOF, the parties through their duly authorized representatives have executed these presents (execution whereof has been approved by the Competent Authorities of both the parties) on the day, month and year first above mentioned at Ranchi.

For and on behalf of: For and on behalf of:

(NAME OF CONTRACTOR)

(Birla Institute of Technology, Mesra)

WITNESS:

WITNESS:

1.

1.

**Contractor Sign & Seal**